# Environmental and Social Management Plan (ESMP)

# for

# Irrigation System in Sub-Project Area Živinice (Final)

# Agriculture Resilience and Competitiveness Project

# (ARCP)

May 2021

GENERAL DATA

| Consultant: | Hydro-Engineering Institute Sarajevo | OIKON Ltd., Institute for applied ecology |
| --- | --- | --- |
|  | Stjepana Tomića 1 | Trg senjskih uskoka 1-2, HR-10020 |
|  | 71000 Sarajevo, BiH | 11000 Zagreb, Republic of Croatia |
|  | tel: + 387 33 212 466/7 | Tel: + 385 1 5507 100 |
|  | fax: + 387 33 207 949 | Fax: + 385 1 5507 101 |
|  | E-mail: heis@heis.ba | E-mail: oikon@oikon.hr |
|  | Web: https://www.heis.com.ba | Web: https://oikon.hr |
| Experts: | Dragana Selmanagić, M.Sc.C.E. Erna Zildžović, B.Sc. in Economy Vukašin Balta, Ph.D. in Geology Nijaz Lukovac, M.Sc.C.E. Namik Hadžimuratović, B.Sc.C.E., Nijaz Zerem, Hydrologist Semra Fejzibegović, B.Sc.M.E. Admir Aladžuz, M.Sc. in Biology/Ecology Selma Osmanagić Klico, Legal Expert | Božica Šorgić, Ph.D. in Chemistry Zrinka Mesić, Ph.D. in Biology/Ecology Vladimir Kušan, Ph.D. in Forestry Nela Jantol, M.Sc. in Biology Marta Mikulčić, M.Sc. in Biology Ivona Žiža, M.Sc. in Agriculture Mateo Gudić, mag. soc. Nebojša Subanović, B.Sc. in Physics and Geophysics |

CONTENTS

1	INTRODUCTION	1

1.1	Brief Project Description	1

1.2	The Aim of the Environmental and Social Management Plan	3

2	OVERVIEW OF PERMITTING NEEDS	4

3	PROJECT DESCRIPTION	5

3.1	Project Site Description	5

3.2	Agricultural Production Background	7

3.3	Description of the Previously Used Irrigation and Drainage Systems	7

3.4	Water Demand	7

3.4.1	Water resources for irrigation	7

3.4.2	Assessment of Water Demands for Agriculture	7

3.5	Description of New Irrigation System Proposal	8

3.6	System Operation and Maintenance	13

4	DESCRIPTION OF THE ENVIRONMENT AND SOCIAL SETTINGS	15

4.1	Physical Environment	15

4.1.1	Climate and Precipitation	15

4.1.2	Air Quality	16

4.1.3	Geology and Hydrogeology	17

4.1.4	Land	22

4.1.5	Forest	24

4.1.6	Water Resources	25

4.1.7	Biological Characteristics	27

4.1.8	Fauna	28

4.1.9	Protected areas	29

4.1.10	Ecological network	29

4.1.11	Waste Management	30

4.1.12	Existing impacts on people's health related to water and agriculture	30

4.2	Socio-Cultural Characteristics	30

4.2.1	Main Characteristics of the Sub-Project Site	30

4.2.2	Preliminary Ownership Structure Analysis	31

4.2.3	Agricultural parcels covered by irrigation system	32

5	ASSESSMENT OF ENVIRONMENTAL AND SOCIAL IMPACTS OF THE PROPOSED ACTIVITIES	34

5.1	Impacts in the design/planning phase	34

5.1.1	Impacts on the River Sub-Basin	34

5.1.2	Land acquisition, restriction on land use and involuntary resettlement	36

5.2	Impacts in the Construction Phase	36

5.2.1	Land	36

5.2.2	Forest	36

5.2.3	Water Resources	37

5.2.4	Air	37

5.2.5	Noise	37

5.2.6	Flora and fauna	38

5.2.7	Waste generation	38

5.2.8	Cultural heritage	38

5.2.9	Occupational health and safety	38

5.2.10	Community health and safety	39

5.2.11	COVID-19 related OHS, Labor and Community Health and Safety risks	39

5.2.12	SEA/SH risks	39

5.3	Impacts in the Operation Phase	39

5.3.1	Land	39

5.3.2	Water Resources	40

5.3.3	Pest and Weed Management	40

5.3.4	Impacts on Air Quality	41

5.3.5	Impacts on Noise Level	41

5.3.6	Impacts on flora and fauna	41

5.3.7	Waste generation	42

5.3.8	Community health and safety	42

5.4	Positive Environmental and Social Impacts	43

6	ENVIRONMENTAL AND SOCIAL MANAGEMENT PLAN	44

6.1	Environmental and Social Impacts Prevention/Mitigation Plan	44

6.2	Environmental and Social Monitoring Plan	54

7	PUBLIC CONSULTATION	62

7.1	Details of the public consultation for the original EMP	62

8	ANALYSIS OF CAPACITY BUILDING AND TRAINING NEEDS	63

8.1	Training needs	63

8.2	Equipment Procurement	64

9	ANNEXES	65

LIST OF TABLES

Table 1 WB ESSs relevant for the project	2

Table 2 Instruments Required Pursuant to the Procedures of the WB and FBiH Laws	4

Table 3 The hydromodule for the month of maximum water consumption in the dry year	8

Table 4 Average temperature	15

Table 5 Number of days with temperature below 0°C	15

Table 6 Number of days with temperature above 25°C	15

Table 7 Average rainfall	15

Table 8 Average Climate Data	16

Table 9 Average annual course of insolation	16

Table 10 Average course of cloudiness	16

Table 11 Air quality data at Cerik measuring station (2020)	16

Table 12 Overview of the chemical analysis of water in watercourses (Rudarski institut, 2013)	26

Table 13 View of the results of heavy metals testing in water samples on river Krivača (Dvokut Pro, 2017)	26

Table 14 View of the results of water quality testing in water samples on river Spreča and Krivača	27

Table 15 Ownership structure and parcels size in the sub-project area	32

Table 16 Structure of parcels according to local communities	32

Table 17 Structure of parcels according to purpose of usage	32

Table 18 Plan of Measures for Prevention/Mitigation of Environmental and Social Impacts for the Sub-Project Živinice	45

Table 19 Environmental and Social Monitoring Plan	54

Table 20 Required equipment	64

LIST OF FIGURES

Figure 1 Position of the sub-project area in regard to town Živinice	5

Figure 2 Coverage area of the irrigation system Živinice	6

Figure 3 Overview of irrigation system in Zivinice Municipality	9

Figure 4 Water-intake on river Krivači	10

Figure 5 Reservoir	11

Figure 6 Basis and cross-section of the water-intake and pump station	12

Figure 7 Filter	12

Figure 8 Location of Živinice within the environment defined by rivers Spreča, Oskova, Gostelja and Krivača on a morphologically levelled terrain (eastern move of Sprečko Polje)	18

Figure 9 Geological map of the wider environment of the location in Živinice intended for the cultivation of agricultural crops	19

Figure 10 Tectonic characteristics of study area	20

Figure 11 Hydrogeological map of the wider agricultural area in Živinice	21

Figure 12 Pedological map of sub-project Živinice	23

Figure 13 Soil class benefits of sub-project Živinice	24

Figure 14 Location of the planned water reservoir	28

Figure 15 Location of the planned Krivača intake structure	28

Figure 16 Histogram of mean monthly flow rates at the water-intake profile on river Krivača	34

Figure 17 Average Flow Duration Curve with minimum and maximum curves on water-intake profile at river Spreča	35

Figure 18 Example of fishways on the Dölln and Fils rivers in Germany	42

ABBREVIATIONS

| ARCP | Agriculture Resilience and Competitiveness Project |
| --- | --- |
| BiH | Bosnia and Herzegovina |
| COVID-19 | Coronavirus Disease |
| FBiH | Federation of Bosnia and Herzegovina |
| EF | Ecological flow |
| EIA | Environmental Impact Assessment |
| ESF | Environmental and Social Framework |
| ESMF | Environmental and Social Management Framework |
| ESMP | Environmental and Social Management Plan |
| ESS | Environmental and Social Standards |
| EU | European Union |
| FMET | Federal Ministry of Environment and Tourism |
| IDP | Irrigation Development Project |
| IT | Information Technology |
| LC | Local community |
| LMP | Labor Management Procedures |
| MoAWMF | Ministry of Agriculture, Water Management and Forestry |
| OHS | Occupational Health and Safety |
| PIU | Project Implementation Unit |
| PPE | Personal Protective Equipment |
| PUC | Public Utility Company |
| RAP | Resettlement Action Plan |
| RPF | Resettlement Policy Framework |
| RS | Republic of Srpska |
| SEA/SH | Sexual Exploitation and Abuse / Sexual Harassment |
| SEP | Stakeholder Engagement Plan |
| WB | World Bank |
| WUA | Water User Association |

# INTRODUCTION

## Brief Project Description

The World Bank (WB) is considering to support Bosnia and Herzegovina through the Agriculture Resilience and Competitiveness Project (ARCP). The project objective is to enhance agriculture sector resilience and increase competitiveness towards EU market accession. The project covers both Entities: the Federation of Bosnia and Herzegovina (FBiH) and the Republic of Srpska (RS). The implementation of the Project in the FBiH will be managed by the Project Implementation Unit (PIU) within the Ministry of Agriculture, Water Management and Forestry (MoAWMF).

The Project has 4 components, as follows:

- Component 1. Enhancing public support resilience and traceability, with sub-components:

  - Sub-component 1.1 Enhancing Agriculture Information Systems;

  - Sub-component 1.2 Supporting Climate-resilient agriculture;

- Component 2. Improving agriculture productivity, adaptation to climate change, and enhancing linkages with markets, with sub-components:

  - Sub-component 2.1. Strengthening Value Chain and Developing Productive Partnerships;

  - Sub-component 2.2. Improving irrigation and drainage systems for climate change;

- Component 3. Food Quality and Safety Enhancement adaptation, with sub-components:

  - Sub-component 3.1. Food Quality and Safety Standards;

  - Sub-component 3.2. Information Technology (IT) Systems for Food Safety Enhancement;

- Component 4. Project Management.

Planned activities within the sub-component 2.2 include construction/rehabilitation of irrigation schemes. FBiH has four implementation ready schemes (sub-projects) prepared as part of the Irrigation Development Project (IDP). There are 15 more potential schemes to be considered for support under ARCP according to the agreed criteria for which feasibility and design studies are yet to be conducted.

Four implementation ready sub-projects related to construction/rehabilitation of irrigation systems include following locations:

- Areas of local communities Svojat and Zelenika - Municipality of Živinice;

- Areas of Žepačko field, Bistričko field, Lupoglavsko field and Radovlja - Municipality of Žepče;

- Areas of Trnova and Šehovci - Municipality of Sanski Most;

- Areas of Klokot – Papari and Bakšaiš (sub-area Kralje-Vrkašići) - Municipality of Bihać.

This Environmental and Social Management Plan (ESMP) covers environmental and social impacts attributable to the irrigation system in the sub-project areas Svojat and Zelenika in Živinice Municipality. Preliminary design of irrigation system in sub-project areas in Živinice Municipality was the basis for development of this document.

The ESMP was originally prepared for the now closed Irrigation Development Project, in September 2018 and in line with the World Bank Operational Policies (safeguards). The ESMP is revised in May 2021 to include provisions of the World Bank Environmental and Social Framework (ESF) and to ensure alignment of the ESMP with the provisions of the relevant Environmental and Social Standards (ESSs).

Table 1 WB ESSs relevant for the project

| ESS | Name | Relevance to the Project |
| --- | --- | --- |
| ESS 1 | Assessment and Management of Environmental and Social Risks and Impacts | This standard guides the preparation of environmental and social instruments including those that have been prepared for the BiH ARCP Project: (i) ESMF, (ii) SEP, (iii) RPF, (iv) LMP and this ESMP. |
| ESS 2 | Labor and Working Conditions | This standard guides the creation of sound worker-management relationships. The primary labor risk are: the risk of informal work, the risks of unpaid and underpaid work, work overload, poor terms and conditions of engagement, lack of occupational health and safety measures, and denied access to social security, pension or health insurance. Labor Screening and Compliance Checklist, and Monitoring and Evaluation procedures have been developed to be included as mandatory in the tender documentation providing compliance of third parties i.e., different contractors to the ESS 2 requirements. |
| ESS 3 | Resource Efficiency and Pollution Prevention and Management | This standard sets out the requirements to address resource efficiency and pollution prevention and management throughout the project life cycle. Considering that activities for this sub-project involve construction works, the major risk is that Contractors will not be aware of best practices to avoid or minimize pollution from project activities or avoid or minimize adverse impacts on human health and the environment. This ESMP will guide contractors to implement adequate pollution prevention and management measures. |
| ESS 4 | Community Health and Safety | This standard sets out the requirements to avoid or minimize community exposure to project-related traffic and road safety risks, diseases and hazardous materials and to have in place effective measures to address emergency events. |
| ESS 5 | Land Acquisition, Restriction on Land Use and Involuntarily Resettlement | This standard guides the procedures to avoid or implement involuntary resettlement and economic displacement with least possible impacts. |
| ESS 6 | Biodiversity Conservation and Sustainable Management of Living Natural Resources | This standard sets the requirement to avoid adverse impacts on biodiversity and habitats. It recognizes that protecting and conserving biodiversity and sustainably managing living natural resources are fundamental to sustainable development. This Sub-project will not be implemented in nationally and internationally recognized natural and critical habitats, protected areas, wetlands and Ramsar sites or locally designated nature sites. This ESMP provides guidance to avoid or minimize the respective impacts on biodiversity and implement mitigation measures as appropriate. |
| ESS 8 | Cultural Heritage | Objective of this standard is to protect cultural heritage from the adverse impacts of project activities and support its preservation. |
| ESS 10 | Stakeholder Engagement and Information Disclosure | This standard guides the inclusion of relevant stakeholders in the project lifecycle. In line with the requirements of this ESS, a Stakeholder Engagement Plan including a Grievance Redress Mechanism has been developed for this Project. The main risk is associated with appropriate implementation of SEP. |

## The Aim of the Environmental and Social Management Plan

The aim of the ESMP is to:

- Analyse the current legal framework relevant to the irrigation and drainage systems construction and rehabilitation projects,

- Analyse available data on the baseline state of social, physical and biological environment,

- Identify potential negative and positive environmental and social impacts of the project and propose mitigation measures,

- Propose a program of environmental and social monitoring.

# OVERVIEW OF PERMITTING NEEDS

After initial examination of the situation of irrigation development subprojects (screening) by the World Bank, it was concluded that any significant adverse effects were not expected and thus were originally classified as Category 'B' based on the operational policies on environmental assessment (OP 4.01). Under the ESF, this subproject is screened as that of Moderate risk, requiring preparation of an Environmental and Social Management Plan (ESMP).

A brief overview of the permitting requirements for the Sub-Project Živinice is given below. A detailed review of the legal framework of environmental impacts assessments in Bosnia and Herzegovina is provided in the Environmental and Social Management Framework (ESMF) for the "Agriculture Resilience and Competitiveness Project in Bosnia and Herzegovina (ARCP)". This document provides a detailed analysis of the compliance of the Project activities with the provisions of the law regulating the protection of environment in Bosnia and Herzegovina, as well as the requirements of the World Bank Environmental and Social Framework (ESF).

Pursuant to the requirements of the Regulations of Plants and Facilities Requiring Environmental Impact Assessment and Plants and Facilities Allowed to Be Constructed and Commissioned Only after the Provision of the Environmental Permit („Official Gazette of FBiH“, No. 19/04), projects related to the construction/reconstruction of irrigation systems are not subject to environmental impact assessment, or the environmental permit procedure.

Pursuant to the Law on Waters („Official Gazette of FBiH“, No. 70/06) irrigation development projects are subject to the water acts procedure which, in this case, is the responsibility of the Sava Basin Water Agency. The procedure of issuing water acts, and their relationship with the environmental permit, is described in detail in the Environmental and Social Management Framework.

Pursuant to federal and cantonal regulations on urban planning and construction, it is necessary for an irrigation construction project to obtain relevant construction approvals, namely Location Permit, Construction Permit and Use Permit. Construction Permit and Use Permit are required for irrigation system rehabilitation projects.

Furthermore, this type of project is subject to the procedure of granting concession for the extraction of water, regulated by the Law on Concessions of Tuzla Canton ("Official Gazette of TK", No. 5/04, 7/05, 6/11, 1/13, 11/14).

The following table summarizes all necessary instruments for the proposed subproject Živinice. It is important to emphasize that applicants for water acts, concession for exploitation of water resources and permits pursuant to the construction laws are future system users.

Table 2 Instruments Required Pursuant to the Procedures of the WB and FBiH Laws

| Sub-Project | Risk Pursuant to the WB | Environmental Assessment Instrument | Instruments Pursuant to the Water Laws | Instruments Pursuant to the Construction Laws |
| --- | --- | --- | --- | --- |
| Živinice | Moderate | Environmental and Social Management Plan | Water acts Concession for water abstraction | Location permit Construction permit Use permit |

# PROJECT DESCRIPTION

## Project Site Description

Živinice Municipality is located in the Tuzla Canton, and borders with the City of Tuzla in the northeast, Lukavac Municipality in the northwest, Kladanj Municipality in the south, Banovići Municipality in the west, Šekovići Municipality in the southeast, and Kalesija Municipality in the east. The area of the municipality is 291 km2. According to the 1991 census, there were 54,783 inhabitants in the municipality. Population in 2016 is 57,916 inhabitants.

Significant road communications pass through the area of Živinice, such as the Sarajevo - Tuzla - Orašje highway, the Banovići - Živinice - Zvornik and Lukavac - Živinice – Šekovići regional roads, and the Brčko - Banovići and Tuzla - Zvornik railway lines. The territory of Živinice Municipality is located in the Sprecko Polje, at an altitude of 200 to 1,156 m.a.s.l. The relief of the municipalities is marked by the northern slopes of the massif Konjuh and Javornik, the southern slopes of the mountain Majevica, the central part of the Sprečko field and the part of the lake Modrac.

Figure 1 Position of the sub-project area in regard to town Živinice

The planned irrigation system Živinice is located about 10 km southeast of Živinice town. The irrigation area covers about 108 hectares of land, and includes settlements Svojat, Zelenika and Lukavica Gornja. According to the 2013 census, there were 2,962 inhabitants in the project area: 749 inhabitants in Svojat, 757 inhabitants in Zelenika and 1,456 inhabitants in Lukavica Gornja.

Figure 2 Coverage area of the irrigation system Živinice

The irrigation area of the sub-project area "Svojat - Zelenika" is 153 ha in private and state ownership. Arable land, meadows, pastures and orchards make up about 108 hectares and the rest of 45 hectares is unproductive land (forests, rivers, roads, houses and yards).

The key features of the sub-project area "Svojat - Zelenika" are:

- fragmented, relatively small, individual holdings where mainly cucumber and strawberries are grown;

- scattered plots within the project area;

- slope terrain with slope from 20 to 50 m; and

- the existing experience of agricultural producers in the application of irrigation drop-by-drop.

The technical solution for irrigation of agricultural land implies taking water from the Krivača and Spreča rivers and its distribution on agricultural plots. The design foresees water-intake from the Krivača river flowing by gravity into the reservoir with capacity of about 900 m³/h, whereas the remaining water quantity would be taken through the PS Spreča during the period of intensive irrigation.

From the reservoir, the water is transported through the gravity pipeline to the user parcels. The primary pipeline is designed and constructed in the first project phase, while the secondary pipeline is only designed.

It is also planned to install the filter station on the gravity pipeline, in order to purify the abstracted water as well as considering the selected "drop-by-drop" system.

## Agricultural Production Background

The development of agriculture at the site begins around 1878, with the establishment of the Austro-Hungarian monarchy in Bosnia. At that time, roads and industrial facilities were built within the Živinice Municipality, so agricultural and forestry resources were very important. Historically, agricultural production was the most common occupation of the population, also the wood industry and mining industry, which were the bearers of urbanization and development of the whole Municipality in the modern age. In the pre-war period, the agricultural farm "Farma Spreča", located in the area of Spreča Field, was one of the largest, with a total of 1,300 ha of very suitable land for agricultural production.

Nowadays, agricultural land in the area of Živinice Municipality covers about 8,245.61 ha, which means that it has about 0.15 ha of agricultural land per capita, with an average of 0.14 ha of cultivable land. That is why the long-term development of the area is based, among other things, on the intensification of agricultural production.

## Description of the Previously Used Irrigation and Drainage Systems

In the sub-project area "Svojat - Zelenika" in the Živinice municipality there is no organized irrigation system. In the previous period, agricultural producers have independently organized irrigation according to the needs and possibilities.

The "drop-by-drop" system was dominant, as well as the individual ways of irrigation according to the possibilities of farmers (from public water supply, accumulation of water in barrels, water catchment through pipes from watercourses, etc.).

## Water Demand

### Water resources for irrigation

According to the water demand calculation in the Preliminary design for the irrigation system in Živinice Municipality (LC Svojat and LC Zelenika), the required water quantity is 30 l/s. The primary water source is Krivača River with the available water quantity ranging from 30 to 3.5 l/s depending on the hydrological period. In the driest period (July) available water quantity is 3.5 l/s. During this period the remaining water demand quantity is taken from the river Spreča by a suction basket that is placed in the watercourse. The abstracted water is pumped through a pressure pipe into a reservoir (accumulation) located upstream the project area, and then distributed by gravity to agricultural plots. There is no planned partition on the Spreča River in order to catch water for irrigation purposes.

### Assessment of Water Demands for Agriculture

To estimate the water demand for irrigation of agricultural crops, it is necessary to determine the total water needed in the vegetation period, rather the value of the evapotranspiration. Evapotranspiration is the total amount of water that is lost in evaporation and transpiration processes from a certain area at a given time. Evaporation corresponds to the value of water that is lost from the surface of the soil by evaporation, while the transpiration corresponds to the value of the water consumed by the plant through the root system. The evapotranspiration depends on the climatic conditions (air temperature, wind, relative humidity and sun radiation), ground slope, soil colour, soil coverage.

The Preliminary design project defines the cultures that will be cultivated in the area of the sub-project and their lack of water, as well as the hydromodule of irrigation (Table 3). Some agricultural crops have different needs for water as well as the shortage to be replaced, so the largest need for water has peppers, while the smallest need has sweet corn.

Table 3 The hydromodule for the month of maximum water consumption in the dry year

| Production structure | Lack of water (mm) | Net hydromodule 24h (l/s/ha) | Correction coefficient (kr) | Reduced net hydromodule (l/s/ha) | Work hydromodule 16h (l/s/ha) | Gross hydromodule 16h, 25% (l/s/ha) | Area under cultivation (ha) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Potato | 101.00 | 0.38 | 1.00 | 0.38 | 0.56 | 0.71 | 14.00 |
| Cucumber | 106.00 | 0.39 | 0.80 | 0.32 | 0.47 | 0.59 | 40.00 |
| Pepper | 113.00 | 0.42 | 1.00 | 0.42 | 0.63 | 0.79 | 2.00 |
| Tomato | 98.00 | 0.36 | 1.00 | 0.36 | 0.55 | 0.68 | 4.00 |
| Sweet corn | 61.00 | 0.23 | 1.00 | 0.23 | 0.34 | 0.43 | 12.00 |
| Strawberry | 0.00 | 0.00 | 0.80 | 0.00 | 0.00 | 0.00 | 26.00 |
| Blueberry | 109.00 | 0.41 | 0.80 | 0.33 | 0.49 | 0.61 | 10.00 |
| Total - Živinice, 108 ha | 588.00 | 2.19 | 6.40 | 2.03 | 3.04 | 3.81 | 108.00 |

## Description of New Irrigation System Proposal

The aforementioned specifics of the sub-project area "Svojat - Zelenika" have influenced the choice of a technical solution including a pressure irrigation system, i.e. a primary pipeline with manholes for connecting by individual agricultural producers. According to the Preliminary design, water from the Krivača River is abstracted and accumulated in the reservoir, then transported by gravity pipeline to the irrigation plots. The length of the gravity pipeline (primary) is 7,383 m. Additional water quantities are provided from the Spreče River, so it is also planned to build a pump station (PS) with the belonging equipment alongside the Spreča River as well as the laying of the pressure pipeline (from the PS to the reservoir) in the length of 6,034 m. The situational view of the planned system is given in Figure 3.

The available quantities of water from the Krivača River are planned to be used, whereas in the dry season the reservoir will be supplemented by water from the Spreča River through the PS and the pressure pipeline.

Figure 3 Overview of irrigation system in Zivinice Municipality

The benefits of the planned system in the Preliminary design are:

- using the Krivača River provides a gravity free water and is the primary source of water for irrigation;

- Krivača River flows through the project area;

- provision of sufficient water quantities for irrigation irrespective of weather conditions, via PS and pressure pipeline;

- secure and reliable source of water (PS alongside the river Spreča);

- water quality is excellent for irrigation (no heavy metals, etc.).

The planned irrigation system facilities, according to the Preliminary design, are:

- Water-intake on river Krivača (Figure 4);

Figure 4 Water-intake on river Krivači

- Reservoir with capacity of about 900 m³ (Figure 5);

Figure 5 Reservoir

- Gravity pipeline (primary);

- Water-intake facility and PS alongside river Spreča (Figure 6);

Figure 6 Basis and cross-section of the water-intake and pump station

- Pressure pipeline (from PS to the reservoir);

- Filter station (Figure 8).

Figure 7 Filter

Water-intake on Krivača river is a concrete dam with side walls. The crest elevation is at + 303.0 m.a.s.l., and the riverbed bottom elevation or the top of water-intake foundation is +302.20 m.a.s.l. The whole dam is 0.8 m high. The intake part is identical to Tyrolean type intake. Due to the erosion of the river banks and the flowing of 1/100 waters (Q1/100 = 8.3 m³/s), AB side walls have been designed.

The reservoir is designed to be mounted on site by a reinforced polyester pipe of 2.4 m in diameter. Prefabricated pipes should be assembled on site, along with all other instructions of the manufacturer (sanding material, granulation, compactness, etc.). Four reservoirs are connected in series (in parallel) forming the total reservoir area with capacity of approx. 900 m³. The abstracted water from the water courses flows into a settling tank, and then goes by gravity towards the reservoirs, into the AB intake shaft, and then into the reservoir. The water from the reservoir goes to the AB outlet shaft, which contains the reinforcement and outlet for cleaning the reservoir. From the outlet reservoir the water goes to the irrigation area by gravity. The reservoirs, in addition to the revision holes, also have vent pipes to prevent the occurrence of a vacuum.

It is planned to take water directly from the Spreča watercourse. The location of the intake structure and the PS is at the confluence of Krivača in Spreča. Given the driest period, i.e. the month of July, when the Krivača River cannot provide enough water quantities, the water from the Spreča River will be transported by pipeline to the reservoir located upstream the project area.

Water-well pumps have been selected with a slightly larger capacity because of the necessary break in operation for 24 and higher speeds of filling up the reservoir.

The water abstraction would be carried out by the gravitational ductile pipe of DN400, which would be partily laid down into the Spreča riverbed and partily laid down alongside the riverbank to the PS. The water-intake pipeline, after installation in line with designed head, is coated with concrete. Suction basket is placed at the intake structure, with a closing valve to be used in the period when irrigation is not carried out. The suction basket is additionally protected by a metal construction, i.e. the barrier consisted of square tubes (100x100x4) which provides protection from large floating objects (beams) in the regime of large waters. The metal construction around the suction basket is additionally covered with a steel protective net with 5x5 cm square openings to prevent the entry of large floating material from the Spreča River. The pipeline is designed in 2% slope in the direction of the PS.

The PS is made of reinforced concrete MB30, with a total dimension of 2.95 x 3.8 m, height 9.0 m. The thickness of the walls and the cover plate of the building is 25 cm and the thickness of the floorboard is 30 cm. Two shutters are installed on the cover plate with dimensions 800x800 mm. Within the PS, two pump aggregates are installed, such as Grunfos type: SP 95-9, Q=80 m³/h, H=121 m, N=42.5 kW, 3/400V/50Hz. The pumps operate in a cascade as needed. Fixtures and reinforcements within the PS are designed to be fixed with sufficient number of supports. Submersible pumps are designed to be fitted with liners to ensure engine cooling, as well as with anti-vortical plates to provide continuous intake. The PS facility is secured with a broken stone with a mean diameter of approx. 40 cm, which is covered with a layer of concrete, 10 cm thick. The entrance to the pump station, i.e. the top plate elevation was raised 1.5 m in relation to the surrounding terrain to ensure safety of electrical equipment from flooding, as presented in the graphic part of the documentation.

The pressure pipe is PEHD PE100 Φ250 x 27.9 mm; total length L = 6000 m.

At the irrigation site, a filtering station is planned for the treatment of the abstracted water from the Krivača River and the PS alongside the Spreča River. The filtering station is set on the gravitational part.

The secondary pipeline provides a sufficient number of irrigation hydrants to cover the whole project area.

## System Operation and Maintenance

The project foresees that future users, owners of irrigation fields, will form the so-called Water Users Association (WUA) to be responsible for the use and maintenance of the system. It is expected that WUA will be able to manage the system. Initially, they will need adequate assistance in managing and maintaining the system which is expected to be provided by a local utility company. All costs of use and maintenance will be borne by WUA members. Sub-component 2.2 of the ARCP Project envisages strengthening the capacity of the WUA related to operation and maintenance of the irrigation system.

# DESCRIPTION OF THE ENVIRONMENT AND SOCIAL SETTINGS

## Physical Environment

### Climate and Precipitation

The area of Živinice municipality belongs to the moderate - continental climate with moderate cold winters and very hot summers. This area is surrounded by mountains on all sides. Majevica mountain separates this area from the Pannonian Basin and the Dinaric mountains prevent the influence of the Mediterranean. Openness of the area is ensured by the Spreče River valley, which allows the influence of air from Posavina.

The coldest month is January and the warmest is July. The vegetation period lasts from mid-March to the end of September. The values of the most important meteorological phenomena are shown in the following tables. Data refer to the Tuzla meteorological station.

The average monthly temperature for the period 1950-2000 is shown in the following table.

Table 4 Average temperature

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual average |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Air temperature (°C) | 0,8 | 1,4 | 5,6 | 10,3 | 14,8 | 18,0 | 19,5 | 19,1 | 15,5 | 10,6 | 5,9 | 1,5 | 10,1 |

The average number of days with a temperature lower than 0 °C for the period 1950-2000 is shown in the following table.

Table 5 Number of days with temperature below 0°C

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number of days | 25,5 | 20,7 | 14,2 | 2,8 | 0,4 | - | - | - | 0,1 | 2,3 | 8,2 | 21,0 |

The average number of days with a temperature higher than 25°C for the period 1950-2000 is shown in the following table.

Table 6 Number of days with temperature above 25°C

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number of days | - | - | 0,3 | 2,2 | 7,5 | 15,2 | 19,7 | 20,3 | 12,3 | 2,5 | 0,1 | - |

The area of the municipality has a relatively even annual distribution of precipitation, with the highest precipitation in June and the lowest in September. In the rainfall timetable, the most significant rains are registered throughout the year and the snow cover remains 61 days, with an average depth of 20 cm. On the Konjuh mountain, i.e. at higher altitudes, snowfall appears in the early fall and lasts until late spring. The depth of the snow cover at these altitudes is higher than the average. Average monthly and annual rainfall (mm/m2) for the period 1950-2000 are shown in the following table.

Table 7 Average rainfall

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual average | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Rainfall (mm/m2) | 59 | 57 | 57 | 76 | 88 | 109 | 97 | 80 | 67 | 62 | 72 | 77 | 75 | 900 |

At the Tuzla meteorological station the relative humidity of the air ranged from 68-85% and it is even throughout the year. The annual relative humidity flow in the Živinica area is inverse to the air temperature, i.e. when the average monthly temperature is highest during the summer months, the relative humidity value is the lowest and vice versa. Annual relative humidity flows (%) in Živinice municipality for the period 1950-2000 are presented in the following table.

Table 8 Average Climate Data

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual average |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Relative humidity % | 84 | 77 | 73 | 68 | 73 | 74 | 73 | 73 | 76 | 79 | 82 | 85 | 76 |

The biggest number of sunny days are in August, with an average of 271 hours/month and the smallest in November with 64.7 hours/month or 2.2 hours/day. The average annual insolation flow in hours on the average day for the period 1950-2000 is shown in the following table.

Table 9 Average annual course of insolation

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual average |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Insolation (hours) | 2,3 | 3,2 | 4,5 | 5,6 | 6,2 | 7,4 | 8,7 | 8,8 | 7,8 | 4,9 | 2,2 | 1,8 | 5,3 |

The brightest month, i.e. the month with the least cloudiness, is August, with mean cloudiness of 3.5, and November is the cloudiest with 7.4. By seasons, the appearance of the cloudiness is the following: summer 4.4; autumn 5.7; spring 6,8; winter 7.0. The average flow rate of cloudiness (%) for the period 1950-2000 is shown in the following table.

Table 10 Average course of cloudiness

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual average |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cloudiness (hours) | 71 | 72 | 67 | 62 | 60 | 54 | 43 | 38 | 42 | 54 | 72 | 75 | 59 |

### Air Quality

In Tuzla Canton, which includes Živinice municipality, there are four air quality metering stations. One of the stations is located in settlement Cerik which is about 4.5 km distant from the urban area of Živinice.

Air quality measurements in the area of the Cerik measuring station showed that the values of air pollution in the winter period (February) were significantly higher than recommended, while in the summer period (June) the situation was somewhat more favorable and was within normal values (Table 11). Although in the past period, which is related to the war and post-war period, until today, the largest industrial pollutants such as Konjuh (wood processing industry), Brown coal mine Đurđevik and Brown coal mine Kreka worked with reduced capacity and thus relieved the environmental picture, air pollution still has a negative and a growing trend with the conclusion that the state of air pollution is not relatively high.

Table 11 Air quality data at Cerik measuring station (2020)

| Station | SO2 | SO2 | NOx | NOx | O3 | CO | PM2.5 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | No. of days with daily concentrat. >125 ug/m3 | No. of days with hourly concentrat. >350 ug/m3 | No. of days with daily concentrat. >85 ug/m3 | No. of days with hourly concentrat. >200 ug/m3 | No. of days with 8-hour concentrat. >120 ug/m3 | No. of days with 24-hour concentrat. >5 mg/m3 | No. of days with 24-hour concentrat. >50 ug/m3 |
| Cerik/Živinice | 93 | 70 | 0 | 0 | 0 | 3 | 111 |

In addition to motor vehicles, which are the largest air pollutants in the Municipality of Živinice, there is occasionally a relatively high intensity of pollution with harmful substances, as well as pollution with dust, ash and soot. Air pollution comes from numerous industrial plants in the Municipality of Živinice, but it is also affected by the industrial plants of the surrounding municipalities.

### Geology and Hydrogeology

#### Morphological and hydrographic characteristics

The project location within the area of Živinice Municipality in the morphological sense is mostly flat area with an altitude of about 16 meters.

The research area is defined by the Krivača and Spreča rivers, which are part of the Sprečko field, and the reef elevations along the Petrovica Donja - Vukovije Donje line, where, as the ultimate northern reference positions of this area foreseen for the cultivation of agricultural cultures, the following points are identified:

- Trigonometric point Kremino Brdo (277)

- Trigonometric point Bukovac (318), located in the area of Dubrava Donja

- Trigonometric point 318, located in the area of Dubrava Donja, recognized as one of the far eastern positions towards Vukovije Donje, which approximates the northern position of the area of agricultural land within the Živinice Municipality (Figure 9).

The final southern position, which outlines the agricultural area of the Živinice Municipality is approximately represented by the line of the river Oskova and Gostelja in the western direction of Brčaninovići - Palučci, which further stretches in the east to Bratinovac and Studenac and Bare sites (Figure 8).

The hydrography of research area is predominantly represented by the river Spreča as the most significant watercourse in this part of the region with the tributaries of Oskova and Gostelja. In the area of Malina (approx. 1.5 km northwest of Živinica), Oskova flows into Spreča, which flows into Modrac Lake at Šerići (the most significant artificial accumulation in Northeast Bosnia). The watercourse structure of the subject area is supplemented by smaller watercourses (the Krivača River as a very important stream in terms of the expected positive water contribution for the supply of agricultural land foreseen for the cultivation of agricultural crops in Živinice Municipality).

Within the research area there is a significant presence of alluvial aquifers in the immediate vicinity of the Spreča River, which potentially provides supplementary water supply in case of shortage water quantities during production of agricultural crops on the territory of Živinice Municipality. This fact actually acts as an incentive to encouragement and stimulation for a quicker implementation of the project because, in the hydrogeological sense (with regard to good water permeability), it allows a faster flow of groundwater within the porous environment of the subject area, although it must be stressed that in the background of its hypsometric lowest positions (close contact with the lesser permeable background of the Pliocene-Quaternary age, or in the Pliocene-Quaternary groundwater zone), there are periods of periodic flooding during the hydrological peak (surrounding area of the periodic surface watercourse Nateka, and the area along the Jošje-Suvat outline).

Figure 8 Location of Živinice within the environment defined by rivers Spreča, Oskova, Gostelja and Krivača on a morphologically levelled terrain (eastern move of Sprečko Polje)

#### Geological structure of the study area

The defined area that impacts the quality of the research is in the stratigraphic sense expressed by the presence of the Cenozoic time line (in the Tertiary and Quaternary) (Figure 9).

Tertiary (Tc)

Pliocene-Quaternary (Pl,Q), is expressed as the direct overlaying rock of the productive Pliocene coal series of "carbon basin" and also a direct shelf for the quaternary aquifer that closely surrounds the River Spreča with tributaries. It is heavily represented on the surface of the terrain, so it is, in a larger scale, the basis for the formation of the area foreseen for the cultivation of agricultural crops. These are river-lake sediments, which are presented in the lithological sense with fine gravel, sand, alevrites and clay component, whose thickness reaches 500 m in maximum development.

Quaternary (Q), is predominantly represented by elements of the river bed (alluvium-al), and the products of the flooding processes (prolluvium-pr), whose manifestation is predominantly expressed along the streams of the surface waters of the northern part of the research area (contact of productive coal series of the Lower Pliocene (Pl1) and Pliocene-Quaternary sediments (Pl, Q), in the form of wide fans that indicate the transition of intense to a silent flow, which is also a reflection of changes in morphology within the observed environment.

Alluvium (al), as already emphasized, is presented as a deposit mass which surrounds the river Spreča, or its tributaries. It is highly represented on the surface of the terrain, and in depth can approximately reach up to 30 m. Lithology is represented by a gravelly, sandy and alevrites component, which makes it a good water-permeable and aerated environment (significance in terms of forming a groundwater body of considerable capacity, is pronounced).

Prolluvium (pr) from the aspect of human factor interest in these mass depots in terms of cultivation of agricultural crops (both in terms of size and quality) is classified as undesirable because it reflects the unwanted product of instability or continually expressed erosion processes within the given environment. Lithology is represented with sand and alevrites, a thickness usually less than 1.0 m. Due to its characteristics, as well as the positioning of prolluvium deposit masses, it can be concluded that the prolluvium (pr) does not have a significant influence on the observed area, and that the significance of the subject lithofacies unit for the formation of agricultural land in the area of Živinice Municipality is essentially negligible.

Figure 9 Geological map of the wider environment of the location in Živinice intended for the cultivation of agricultural crops

#### Tectonic characteristics

Observed from the context of the catchment area of about 31.6 km2, (taking into account the specificities in terms of defining the hydrogeological characteristics of lithological members of individual stratigraphic units, which imply the narrow spatial environment of agricultural areas in Živinice Municipality), it was concluded that the tectonic analysis of this area necessarily influences the quality of the project. In this regard, the analysis of the tectonic characteristics of the area was carried out, which is characterized by the almost 50% of low- permeable materials. It emphasizes that the conditions for defining environmental protection remain unchanged within the complete catchment area occupied by the agricultural land of Živinice Municipality. Within the area, the presence of five structural-facial units has been identified, of which the agricultural land with the associated basin, generally in its entirety, is located within the area of only one of them. In this regard, the representation of structural-facial units is presented as well as interpretation of their impact on the conditions of the formation and functioning of the observed agricultural areas as well as the interpretation of the conditions of its impact on the environment.

In this sense, the following tectonic units were identified within the study area (Figure 10):

- Central ophiolite zone (A)

- Tuzla basin – coal basin (B)

- Spreča depression (C)

- Inner Dinaric ophiolite melange (D)

- Đurđevik basin (E)

Figure 10 Tectonic characteristics of study area

Within the tectonic unit of Spreča depression, a complete area of agricultural land in Živinice Municipality is located, so it can be concluded that the other four tectonic units have more negligible influence on its flawless functioning.

Tectonic unit Spreča depression is structurally a trench filled with alluvial material (gravel, sand and alevrites), which forms the groundwater zone of this environment in the immediate surroundings of the local surface watercourses. The Alluvium was thus positioned on the hypsometrically elevated positions of the sloping sediments of Pliocene-Quaternary (Pl, Q), and was created by the continuous dynamic activity of water streams in a nearby environment, whereby the specific flatted morphology was formed. In this sense, the unbounded grain structure of these sediments is considered the main cause of the appearance and functioning of such a structured morphological entity.

Within this area, there is a noticeable tectonics that reflects the regional character (northern and southern Spreča fault, with orientation northwest - southeast), while the wider area (especially north of the northern Spreča fault) is characterized by tangential tectonics which formed the Tuzla basin, i.e. a productive series of coal basins.

Locally, minor ruptures or faults may occur in the wider environment (especially in the southern part, which does not include the area of research but which, by its presence, signifies an increased water permeability of rock material, which also reflects an important impact on underground and surface hydrography of the research area (Toplica spring).

#### Hydrogeological characteristics of the study area

Hydrogeological characteristics of the research area are directly related to the geological setting and structure of the whole area, i.e. its lithostratigraphic characteristics and tectonics. In this sense, the geological characteristics of this terrain primarily imply the composition of rocks, their structure and genesis. By these elements, the primary division of the paleogeographic-structural units was performed, as elaborated in previous elaborations. In this respect, their basic division will be presented, as a basis for local characterization of the area by hydrogeological properties of the research area, where the following groups of water sediments can be distinguished (Figure 11):

a) Very permeable rocks made up of gravel, sand and alevrites components (alluvial sediments of Quaternary of inter-granular porosity)

Alluvium (al) is represented by rock materials of intrinsic inter-granular porosity, which (in particular, gravel and sand) have characteristics of very water-permeable environment. Given their presence and potentials offered by these creations in terms of the necessity of protection of sources, their presence is evident in relation to the water-intakes for the supply of the local population. In this regard, the Quaternary deposits, given the good characteristics of water filtering, can be considered as an important factor for deciding on defining the source protection zones (both quantitatively and in terms of quality), given the potentially very strong character of the impact on the water wells in a relatively close environment.

b) Moderate to poor-permeable rocks made of prolluvium (pr)sediments, Pliocene-Quaternary (Pl,Q), and deposit masses of the Lower Pliocene (Pl1), have the prevailing properties of the relative hydrogeological barrier. However, under the conditions of intensely represented fractional tectonics of the massif in the background of these sediments, it is possible to notice the groundwater flow along the fractional lines, caused by strong endogenous activity. In total, the overlaying rock within the basin is represented by the Pliocene-Quaternary (Pl, Q) sediment and deposit masses (Pl, Q), characterized by moderate to poor water permeability in the zone of low hypsometry and limited distribution towards coal basin, which ultimately results in negligible hydrogeological impact on the alluvial aquifer horizon (only hydrological impact is observed due to terrain morphology).

Figure 11 Hydrogeological map of the wider agricultural area in Živinice

c) Non-permeable rocks

Serpentinites (Se), central ophiolite zones and watertight deposits (3Pl12,  2Pl12), productive series of coal basins, are represented by rock masses of extremely low water permeability, which in the hydrogeological view represent the shelf and also the lateral barriers, pronounced in the substrate area i.e. the Palaeo-relief. These lithological units with very poor water permeability (or completely watertight) almost entirely present the shelf mass deposition in the areas designated as the agricultural area of the Živinice Municipality. In hydrogeological sense, this emphasizes their importance in determining the boundary conditions of recharging the groundwater with the available water levels, as well as in defining geometry of the subject groundwater (alluvial aquifer).

#### Conclusions

Considering the significant tectonic degradation of the Palaeo-relief in the shelf of depository masses emerging as a consequence of the fluvial activity of this area, in addition to the considerable presence in the area envisaged for the agricultural production, it can be concluded that the Quaternary (Q) sediments, in the hydrogeological sense, present the main aquifer recharging the alluvium of the river Spreča and river-lake sediments. The appearance of alluvial groundwater is attributed to the strong influence of surface watercourse of Spreča, although some influence is also made by the Oskova, Gostelja and Krivača tributaries in the zone of the river mouth.

According to the abovementioned findings, it is necessary to emphasize that the rock massive, located in the immediate surroundings of the agricultural area, is exposed to potentially strong impact of exogenous processes and technogenic factors (pronounced lateral erosion activity, increased aggregation of fine accumulation material and soil contamination) which, as a logical consequence of such influences (natural or anthropogenic), may result in water turbidity as well as its biological-chemical pollution. In this respect, it is necessary to foresee the necessary measures to limit the potentially negative impacts on groundwater quality within the maximum permissible concentrations, or to ensure complete groundwater protection of the subject area from negative anthropogenic impacts.

### Land

Land is a non-renewable natural resource where everyone lives on the Earth's sphere, including the entire economy of any area. The soil is a three-dimensional body, the delimited surface layer of the Earth's crust, created under the influence of pedogenic factors through pedogeneous processes, and is determined based on its internal properties.

The area of the interest of sub-project Živinice is located in the south-eastern part of the Živinice Municipality. Planed agricultural areas occupy lowland parts, while the area of accumulation occupies higher parts.

Soils of sub-project Živinice are mostly Cambisols and Pseudogley. According to the pedological map, four mapped land units have been identified (Figure 12): Unit of Cambisols on sands, shrubs and clay, unit of Calcocambisol and Dystric Cambisols on sands, unit of Pseudogley (on plateau/on slope) and Eutric Cambisols and unit of Vertisol carbonate and non-carbonate.

Figure 12 Pedological map of sub-project Živinice

According to the Ordinance on the Uniform Methodology for the Classification of Agricultural Land in Benefits (Official Gazette of the Federation BiH, No. 43/11), Article 18, land/soil may be suitable (P) or unsuitable (N) for intensive cultivation or cultivation of certain cultures within agro-zone. Soil classes determine the degree of benefits, meaning that P-1 is good soil tillage; P-2 is moderately restricted soil tillage, while P-3 is limited soil cultivation. The N-1 class consists of soils which are temporarily unsuitable, while the N-2 classes are permanently unsuitable soil for processing and/or multipurpose usage in agriculture (Figure 13).

The soil types of the observed area mainly belong to the P-3 restricted cultivated soil for vegetable production within the first and second agro-zone.

Figure 13 Soil class benefits of sub-project Živinice

### Forest

In Živinice municipality, 49.9% of the area is occupied by forests which are a significant resource for economic development. Most of the forests are classified as state forests which are in the "Sprečko" forestry area and managed by public company "Tuzla Canton Forest", Kladanj Joint Stock Company, ŠG "Sprečko" Živinice.

In the total area of 153 ha covered by irrigation systems, 26.89 ha (17.6%) are forests located on private parcels in the project area. This is primarily the case of forests and smaller areas of beech, hornbeam and sessile oak trees, as well as forest vegetation patches along watercourses and ditches where mostly alder, willow and poplar trees prevail. These forests have a relatively small economic value and have a significantly greater protection value and are mainly used for supplying their owners with firewood.

The planned water intake structure on the Krivača River and the reservoir area near this project area are in the "Small Spreča" forest management unit. Thereat, the water intake structure at Krivača is placed in the section 48a, which is classified as a high forest of beech with black pine (1105). Reservoir area is located on a forest clearing between sections 48a and 56f. These forests have significant economic value.

### Water Resources

River Spreča is the right tributary of the river Bosna and belongs to the catchment area of the Sava River. It originates below Snagovi, in the area between Zvornik and the mouth of Drinjača into Drina. It flows in direction of northwest in total length of 127 km. In enters into river Bosna at Doboj. The total area of the basin is 1,947 km2. The altitude of the river Spreča springs is 261.32 m.a.s.l. whereas the altitude of the river mount is 137.70 m.a.s.l. The altitute difference is 123.62 m and the mean flow head is 0.00098. Hydrography of the Živinice Municipality consists of many rivers, streams, springs, periodic flows and artificial accumulations. The structure of water flows consists of the river Spreča with its tributaries. The total length of all flows in the municipality of Živinice is 109.8 km. The largest watercourse is the river Spreča. It flows through the municipality of Živinice in the length of 30.3 km.

The characteristic flows of the river Spreča at the location of the water catchment for the irrigation system are:

- Mean annual flow Qmean.annual=2.78 m3/s,

- Mean minimum flow Qmena.min.=0.289 m3/s,

- Large waters with return period 1/100 Q1/100= 50 m3/s.

River Krivača is the right tributary of the river Spreča. It originated at the location of Džebari and flows in length of 9.5 km before it flows into the river Spreča.

The characteristic flows of river Krivača at the location of the water catchment are:

- Mean annual flow Qmean.annual=0.015 m3/s,

- Adopted installed/designed flow Qinst=0.03 m3/s,

- Biological minimum QEF = 0.0015 m3/s=1.5 l/s for the period May – October; QEF = 0.00225 m3/s = 2.25 l/s for the period November - April

- Large waters with return period 1/100 Q 1/100= 8.3 m3/s.

River Spreča with tributaries, upstream of the Modrac Lake, is classified as Category II - water class by the Regulation on Water Classification.

In the Water Management Plan for the Sava River Basin in the Federation of Bosnia and Herzegovina (2016-2021), the total ecological status of the water body in the area of the Spreča River, in the period 2011-2013, based on the monitoring results, it is defined as weak, and the overall status is defined as poor. The overall status of the water body in the Spreča watercourse, including the Krivača river is defined as poor, for the same period.

For the purpose of the Preliminary design, quality data of surface waters of Spreča and Krivača were used from the Pressure Analysis Study for FBiH (2013) and the Report on Testing from 2017 and 2018.

The results of the chemical parameters of the surface water quality of Spreča and Krivača in 2013 (Table 12) indicate the increased content of ammonia.

Table 12 Overview of the chemical analysis of water in watercourses (Rudarski institut, 2013)

| Location | Quality Parameters |  |  |  |  | Note |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | pH | Electro conductivity (µS/cm) | Oxygen dissolved (mg/l) | NH4 (mg/l) | NO3 (mg/l) | Location of sampling | Marking on the map |
| Krivača | 7.30 | 306 | 7.63 | 2.87 | 0.25 | at the entrance into TPV | SP-1 |
| Spreča | 7.71 | 490 | 7.72 | 7.33 | 0.08 | at the mouth of Krivača | SP-2 |
| Gribaja | 7.90 | 751 | 8.79 | 6.03 | 0.09 | at the entrance into TPV | SP-3 |
| Spreča | 7.74 | 591 | 6.75 | 1.00 | 1.67 | downstream from the landfill Vis | SP-4 |
| Oskova | 7.82 | 973 | 5.46 | 41.4 | 2.14 | Outlet from the wastewater collector Živinice – location Strašanj | SP-5 |
| MDK | 6.5-9.5 | < 2000 | 5.0 | 0.5 | 50 | MDK values are established by the Rulebook on natural mineral and natural spring waters ("Official Gazette of BiH", No. 26/10) |  |

Within the chemical testing of water quality for the needs of irrigation of the wider coverage of local communities (LC) Svojat and Zelenika, Dvokut Pro (2017) has conducted a testing of the content of heavy metals in the watercourses Spreča and Krivača, whereby the data presented in Table 13 were obtained.

Table 13 View of the results of heavy metals testing in water samples on river Krivača (Dvokut Pro, 2017)

| Parameters | Unit | Limit values for discharge of wastewater into the surface waters | Krivača river |
| --- | --- | --- | --- |
| Copper (Cu) | mg/l | 0,5 | <0,01 |
| Iron (Fe) | mg/l | 2 | <0,01 |
| Lead (Pb) | mg/l | 0,5 | <0,01 |
| Nickel (Ni) | mg/l | 0,5 | <0,01 |
| Cobalt (Co) | mg/l | 1 | 0,03 |
| Zinc (Zn) | mg/l | 2 | <0,01 |
| Cadmium (Cd) | mg/l | 0,1 | 0,04 |

According to this data, all measured parameters were within the permitted limits for discharge into surface flows.

The Public Health Institute of Osijek-Baranja County and the Institute of Chemical Engineering in Tuzla (2017, 2018) carried out tests on certain parameters of water quality in the watercourses of Spreča and Krivača, where the data obtained are shown below (Table 14).

Table 14 View of the results of water quality testing in water samples on river Spreča and Krivača

| Parameters | Unit | Limit values for drinking water | Spreča | Krivača | Spreča |
| --- | --- | --- | --- | --- | --- |
|  |  |  | 31.08.2017. | 31.08.2017. | 10.01.2018. |
| Calcium (Ca) | mg/l | 200 | 71 | 71 | 52,1 |
| Magnesium (Mg) | mg/l | 50 | 9,4 | 9,4 | 19,5 |
| Sodium (Na) | mg/l | 200 | 11 | 11 | 5,45 |
| Iron (Fe) | mg/l | 0,2 | - | - | 0,494 |
| Manganese (Mn) | mg/l | 0,05 | - | - | 0,026 |
| pH value | - | 6,5-9,0 | - | - | 8,01 |
| Electrical conductivity | µS/cm | 2500 | - | - | 378 |

According to the calculated values of the adsorption coefficient of sodium and water electro-conductivity of Spreča and Krivača in the Preliminary design (based on the results of the Public Health Institute of Osijek-Baranja County survey from 2017), it was concluded that these waters are usable for irrigation without restriction.

The location of the planned water intake on the river Spreča is located at a significant distance upstream from large industrial polluters in Lukavac.

According to the information obtained from the Živinice Municipality, in the past there have been no incidents or significant pollution of Spreča and Krivača rivers in the area of consideration, which would cause fish pestilence or some of the more significant negative impacts on the environment.

### Biological Characteristics

#### Habitats, vegetation and flora

The irrigation project area is located along the Krivača Stream, which runs from the mountain area around at the foot of the mountains Konjuh and Javornik to the river Spreča east from the town of Živinice. This peri-Pannonian area biogeographically belongs to the Eurosiberian–North-American vegetation region with floristic dominance of forest vegetation (Source: Rivas-Martínez, S., Penas, A., Díaz, T. E., 2004. Bioclimatic Map of Europe, Bioclimates. Cartographic Service. University of León, Spain).

In the lowland part of the wider area, natural vegetation is the biome of lowland riparian oak-ash forests and at slightly higher latitudes the biome of oak-hornbeam forests. The bioms of beech and beech-fir forests can be found on the hillslopes, though the last mentioned biome is not present in the project area. On the lower parts of the Spreča valley, the penduculate oak and common hornbeam forests (the association Carpino betuli-Quercetum roboris) are present, while the higher latitudes are covered by the beech forests. Riparian forests of willows (Salix sp.), alders (Alnus sp.) and narrow-leafed ash (Fraxinus angustifolia) are present along watercourses, as well as wet meadows. In the bank area, many endangered plant species can be found, for example Marsilea quadrifolia, Hydrocharis morsus-ranae and Salvinia natans, all of them vulnerable (VU) according to the Red List (Source: Crvena lista ugroženih divljih vrsta i podvrsta biljaka, životinja i gljiva, 2014., 2014, Official Gazette of the BiH, No 7/14).

Habitats in the project area are cultivated mosaics, meadows and pastures. On the banks of the Krivača Stream at the location of the water intake structure grow typical riparian species such as alders. In the planned location of the water reservoir next to the Krivača Stream there is a wet meadow, at which grow Juncus sp., Cirsium sp., Serrtaula sp., Mentha piperita, Rubus fruticosus, Cichorium intybus etc.

In the project area, pest plants and ruderal vegetation occur, as well as invasive alien plant species which change the natural flora composition by extruding natural vegetation. Some of the present species of the wider area are: Amorpha fruticosa, Cirsium sp., Ambrosia artemisiifolia, Elymus repens, Ailanthus altissima, Erigeron annus, Phytolacca americana, Solidago gigantean etc. (Source: JP Šume Tuzlanskog kantona, 2016. Ugrožene, osjetljive i rijetke šumske biljne vrste na području kojim gospodari JP “ŠUME TK“ DD Kladanj - Crna i osmatračka lista na području kojim gospodari JP „ŠUME TK“ DD Kladanj (Source: www.jpsumetk.ba 13.10.2017; Prostorni plan područja posebnih obilježja dijela slivnog područja akumulacije Modrac za period od 2016. do 2036. godine – Prijedlog, 2017).

Figure 14 Location of the planned water reservoir

Figure 15 Location of the planned Krivača intake structure

### Fauna

The fauna of the wider area around the Krivača stream consists of predominantly forest species, while in the project area, there are also species that inhabitat grasslands and cultivated areas.

Gastropoda and Arthropoda (insects, arachnids and myriapods) dominate among invertebrates. There is a rich fauna of insects which spend one part of their life cycle inside and close to water, such as Odonata and Lepidoptera, and those living in forest habitats, such as vulnerable (VU, according to the Red List) stag beetle (Lucanus cervus). Common fish species are: Leuciscus cephalus, Leucaspius delineates (VU), Barbus balcanicus and Salmo trutta (Source: Prostorni plan područja posebnih obilježja Zaštićeni pejzaž „Konjuh“ za period 2010.-2030. godine, 2013). The Spreča and Krivača rivers belong to the biotype type 5 – Small to medium lowland and mountain rivers with medium supstrate particle size (Source: Plan upravljanja vodama za područje rijeke Save u Federaciji Bosne i Hercegovine (2016-2021). Prateći dokument br. 3 – Karakterizacija površinskih voda. „Agencija za vodno područje rijeke Save“ Sarajevo, 2016). Common fish species for this type are: Barbus petenyi, Alburnoides bipunctatus, Cottus gobio, Salmo truta fario and Gobio gobio. Common zoobenthos communities include: snails (Sadleriana fluminensis, Theodoxus sp., Radix sp.), crustaceans (Gammarus sp.), Plecoptera (family Lauctridae), Ephemeroptera (Caenis sp., Paraleptophlebia sp., Baetis sp.) and Trichoptera (family Hydropsychidae). In forestes and water habitats reptiles (snakes, lizards, turtles) and amphibians (frogs, toads, salamanders, newts) can be found. There is a rich fauna of birds inhabiting water areas, forests and cultivated areas. Birds present in the wider area include Passeriformes, Ciconiiformes and Galliformes. Among Falconiformes, in the wider area there are Buteo buteo, which eats mostly mammals, as well as Falco peregrinus and Accipiter nisus, which feed on smaller birds. In forest habitats vulneralble (VU) species can be found: Tetrao urogallus and Strix uralensis (VU nesting population). Mammals that inhabitat the project area are: Glis glis, Elyomis quercinus, Apodemus sylvaticus, Erinaceus europaeus, Sciurus vulgaris, Mustela nivalis, Martes sp., Lepus europaeus, Sus scrofa, Capreolus capreolus, Vulpes vulpes etc.

### Protected areas

The project area is not located in a protected area. A protected area in the wider area (10-15 km) is the Konjuh Mountain, southwest of the irrigation project area, which was declared a landscape protection area in 2009 (Law on Proclaiming a Part of the Mountain Area of Konjuh Protected Landscape, Official Gazette of TC, No. 13/09). According to the Law on Nature Protection Act of Tuzla Canton (Official Gazette of TC, No. 10/04) and the Law on Nature Protection of the FBiH (Official Gazette of the FBiH, No. 66/13), the landscape protection area is an area where the interaction of people and nature over time has produced significant ecological, biological, cultural and aesthetic values.

West of the town of Živinice there is an artificial lake Modrac, which is an important bird habitat proposed for protection (Source: LEAP Općine Živinice, 2016). Modrac Lake belongs to the catchment area of the Spreča and Turija rivers. In addition to the rich ornitofauna, it is also a habitat for many fish, mammal, reptilian, amphibian, invertebrate and plant species, among which there are several endangered species (Source: Prostorni plan područja posebnih obilježja dijela slivnog područja akumulacije Modrac za period od 2016. do 2036. godine – Prijedlog, 2017).

### Ecological network

According to the Law on Nature Protection of the FBiH (Official Gazette of the FBiH, No. 66/13), the Government of the Federation will establish a European ecological network of protected areas called the Natura 2000 ecological network. The network will include Special Areas of Conservation according to two European directives: the Council Directive on the Conservation of Natural habitats and of wild fauna and flora (92/43/EEC) and the Birds Directive (79/409/EEC, 2009/147/EC). It will consist of areas that will provide conservation of natural habitats and wild plant and animal species which are considered to be of European interest. The project area is not within the proposed area of Natura 2000 ecological network. The nearest proposed ecological network areas in the wider area (10-15 km) are BA8300050 Modrac-gornja Spreča and BA8300035 Konjuh-Krivaja, which rely on the existing (Konjuh) or proposed (Modrac Lake) protected areas.

### Waste Management

The organization of public hygiene in the Municipality of Živinice includes the activities of collecting municipal waste, its transport and disposal at the landfill Višća (existing surface mine).

Waste management is realized through the public utility company “Komunalno” Živinice. In addition to “Komunalno” Živinice, in the area of ​​the municipality of Živinice, two private companies that mainly cover rural local communities are also engaged in waste collection and disposal. The system of organized waste collection covers 24 out of a total of 26 local communities, i.e. 75% of all households and 90% of legal entities.

The existing landfill is a de facto illegal landfill, given that there is no regulated communal infrastructure, a system for ventilation of exhaust gases does not exist, as well as a system for collecting polluted wastewater. Disposed waste is not isolated from the environment, so the landfill in its current state pollutes the environment and endangers human health.

24,343 m3 of waste is disposed of annually at the landfill, which is currently spread over an area of ​​about 5,756 m2. The landfill covers a total of 10 ha.

It is planned to close and completely rehabilitate this landfill, because in the meantime a regional waste management center should be built at the new location (in accordance with the Waste Management Strategy in FBiH).

### Existing impacts on people's health related to water and agriculture

According to the last census of the population of BiH, Živinice Municipality has 57,765 inhabitants. The Integrated Development Strategy of Živinice Municipality 2017 - 2026 (2016) states that the health care services in the Živinice Municipality area provide JZU Dom zdravlja (Public Health Institution - Health Center) with 19 regional outpatient clinics and Emergency Assistance. Significant existing environmental impacts on health can be caused by air pollution in Živinice Municipality, especially in the heating season (Source: Zivinice Local Action Plan for Environmental Action of 2016-2026). The emergence of diseases caused by waterborne causes may be due to inadequate preparation of drinking water, uncontrolled waste removal, and contamination during distribution, etc. While the central water supply system is controlled, the local water supply systems in the rural part of the municipality are mostly uncontrolled and thus represent a significant risk to the health of this part of the population. In addition, the quality of land, particularly cultivable land, is significant, as soil contamination is one of the main sources of food contamination. Soil pollution is most affected by the use of pesticides and artificial fertilizers, where some of these components can be kept in the soil for many years.

## Socio-Cultural Characteristics

### Main Characteristics of the Sub-Project Site

The subproject area is located in the Živinice Municipality in the Federation of Bosnia and Herzegovina. Živinice Municipality is located in the north-eastern part of B&H. It occupies the southern part of Tuzla Canton. It is located in the Sprečko field on the slopes of the Konjuh and Javornik mountains, in the basin of rivers Spreča, Gostelja and Oskova. Živinice Municipality occupies an area of 291 km2 at an altitude of 213 m. In the north it borders with the town of Tuzla, in the northwest with the Lukavac Municipality, in the south with the Kladanj Municipality, in the southeast with the Šekovići Municipality and in the east with the Kalesija Municipality. According to the 2013 census data, Živinice Municipality has 61,201 inhabitants.

In economic terms, Živinice Municipality belongs to a group of middle-developed municipalities in Bosnia and Herzegovina. According to general indicators, the economic flows of the municipality go hand in hand with the flows of the economy in the Canton area, and wider. There is a high unemployment rate (59.7% in 2016). According to the official statistical data, 835 legal entities were registered in Živinice Municipality, while the number of independent businesses or trades was 1140, out of which 396 were commercial shops, 163 independent catering businesses and 113 manufacturing industries.

Of the total area of the municipality of 29,090 ha, the agricultural land occupies an area of 9,483 ha or 33% of the total area, while the forest land occupies an area of 13,426 ha or 46% of the total area. In the structure of agricultural land, the largest share of 84% belongs to arable land, 8% to orchards and 8% to pastures. Of the total area of arable land, as much as 7,163 ha or 90% is cultivated. The percentage of uncultivated land is only 6% and it is among the lowest compared to the other municipalities of Tuzla Canton (Tuzla 72%, Srebrenik 66%, Sapna and Banovići 56%, Čelić 55%, while other municipalities have less than 30% of uncultivated areas).

The variety of soils (agricultural and forestry) as well as the favourable climate conditions suggest a rather favourable geographic position of the municipality. The proximity of the larger business centres of the Canton, particularly the industrial zone of Tuzla city, points to a particularly favourable geographic position of the municipality. Namely, the regional distribution of some of the economic activities within the Tuzla Canton corresponds to the spatial potentials, i.e. the resources of its individual municipal areas. Agriculture as a part of the economy in Živinice Municipality has intensified in recent years. The largest number of farms is engaged in the production of milk, meat and vegetables.

Živinice Municipality is known for its vegetable and fruit production and this segment, given the quality of land and the favourable climate conditions of the Municipality of Živinice, represents a strategic chance for the future development of agriculture. Beside the growing of the cucumber, where Zivinice Municipality is the leading producer of over 85 hectares of land, this area is traditionally known for plum and apple cultivation, and for the time being, strategic investments are opening up potential for growing raspberries and blueberries. However, in order to intensify agricultural production and enable stronger growth and development for producers from the area of Živinice, it is necessary to support the establishment of agricultural cooperatives owned by the farmers.

### Preliminary Ownership Structure Analysis

The ownership structure of agricultural land in Živinice Municipality indicates that the private sector is represented by about 81% and the public by 19%. In private ownership, 73.8% of land is cultivated, 12.5% are meadows, while the area under the orchards is 8.5% and only 5.2% are pastures.

The public sector has 2.025 ha of agricultural land, of which 67.3% is cultivated land, 3.1% orchards, 13.3% meadows and 16.3% pastures. Both in quantitative and qualitative sense, the private sector has more favourable position for the development of agricultural production.

The project area includes 3 local communities: Svojat, Zelenika and Lukavica Gornja. The ownership of agricultural land in this area is mostly private with the size of the parcels mostly below 0.5 ha, as shown in the following table.

Table 15 Ownership structure and parcels size in the sub-project area

| Parcel size | Number of parcels | Ownership |  |
| --- | --- | --- | --- |
|  |  | Private | Public |
| < 0,5 ha | 354 | 343 | 11 |
| 0,5-1 ha | 77 | 75 | 2 |
| 1-2 ha | 10 | 8 | 2 |
| 2-3 ha | 3 | 1 | 2 |
| 3-4 ha | 2 | 2 | 0 |
| Total number of plots | 446 | 429 | 17 |

Surfaces and the number of individual parcels at the locations included in the subproject are presented in the following table.

Table 16 Structure of parcels according to local communities

| Local Community | Number of parcels | Area (ha) |
| --- | --- | --- |
| Svojat | 320 | 106,6 |
| Zelenika | 45 | 17,5 |
| Lukavica Gornja | 81 | 23,5 |
| Total | 446 | 147,6 |

The total area of land in the sub-project area by type of land is shown in the following table.

Table 17 Structure of parcels according to purpose of usage

| Way of usage | Area (ha) |
| --- | --- |
| Arable land | 99,9 |
| Pasture | 3,0 |
| Meadow | 2,6 |
| Orchard | 2,0 |
| Forest | 26,9 |
| Road | 3,5 |
| House | 0,6 |
| Yard | 3,9 |
| River | 5,2 |
| Total | 147,6 |

### Agricultural parcels covered by irrigation system

According to preliminary data from Preliminary design, the planned irrigation infrastructure in the Živinice Municipality will include 27 parcels located on the pipeline route or parcels on which the system objects will be constructed. These parcels may be subject to some kind of expropriation. Parcels on which the irrigation system is planned are mainly public good, i.e. local and unclassified roads, and only a few parcels are owned by company "Konjuh", Živinice, which may be subject to some kind of expropriation.

Acquisition of and restrictions to land use resulting from development needs of this sub-project will be guided by the Resettlement Policy Framework and compensation, rehabilitation and restoration standards transposed in the Resettlement Action Plan to be prepared.

# ASSESSMENT OF ENVIRONMENTAL AND SOCIAL IMPACTS OF THE PROPOSED ACTIVITIES

## Impacts in the design/planning phase

### Impacts on the River Sub-Basin

Input hydrological data as well as calculation of the environmental flow (EF) for water catchment on the river Krivača and the river Spreča are taken from the "Preliminary design for Irrigation Project for subproject in Zivinice Municipality" and the hydrological elaborate. The verification and accuracy of the hydrological data was not carried out in this Environmental Management Plan. The following is an analysis of the impacts of the abstracted water quantities on the calculated EF for both watercourses. For the water catchment on the river Krivača, the Preliminary design noted that the EF would not be endangered because of the existence of alternative water catchment on the river Spreča. However, in the event of abstraction of 30 l/s from the water catchment at Spreca in critical months, the EF of river Spreča will be endangered (Figure 17).

The calculation results from the Preliminary design are shown below.

River Krivača:

QEF = 0,1 x Qmean = 1,5 l/s  for the period May - October

QEF = 0,15 x Qmean = 2,25 l/s  for the period November - April

Given the maximum amount irrigation water demand that is planned for a given period of the year Qp,max = 30 l/s, it can be concluded that alternative water supply from the Spreča river will be used the whole period of irrigation for 3 months, which can be seen from the mean monthly flow rates displayed by the histogram on the water catchment profile on the river Krivača (Figure 16).

Figure 16 Histogram of mean monthly flow rates at the water-intake profile on river Krivača

The abstracted water is pumped through the pressure pipeline into a reservoir (volume V = 900 m3) upstream the project area and then water is distributed by gravity to agricultural plots. Also, in the Preliminary design it is stated that Qmean annual = 2.78 m³/s, while Qmean min = 0.289 m³/s, which is the quantity determined as EF (QEF) in the dry period for the P2 profile – water catchment on the river Spreča, according to the Regulation for the Determination of EF ("Official Gazette FB&H", No. 4/13).

Below, the average flow duration curve with the minimum and maximum curves on the water-intake profile at river Spreča (profile 2) is shown (Figure 17). The figure shows that the value of QEF on the river Spreča crosses the minimum curve in the dry period, so it can be expected that 35% of the time the abstraction of irrigation water will endanger the amount specified as EF on the alternative water catchment on river Spreča (profile 2 – water-intake).

Figure 17 Average Flow Duration Curve with minimum and maximum curves on water-intake profile at river Spreča

Related to the quantity of surface water to be used for irrigation, in the event of abstracting 30 l/s from the water catchment at Spreča river in critical months, it can be concluded that the EF of Spreča river will be endangered. This negative impact needs to be more carefully considered in the next design phase, to undertake additional analysis and calculations of existing and new springs for irrigation, and a final choice of technical solution to minimize or eliminate this effect.

The final technical solution should be revised by a legal entity that is registered and authorized to carry out design and/or validation of designs. All requirements set out in the Water Acts of the Sava River Basin Agency must be incorporated into the final technical solution.

### Land acquisition, restriction on land use and involuntary resettlement

Implementation of sub-project will include expropriation of property for the construction of water intake, pumping station, water reservoir and acquisition of easement rights for the placement of irrigation pipeline.

The impacts will be limited given that only the system facilities will require permanent land acquisition. The area required for construction of these will not be major in scale. The compensation for establishment of easement rights will be in line with the entitlement matrix compliant to ESS5 as set forth in the RPF and ultimately transposed in the RAP. Physical displacement is highly unlikely, as these areas host agricultural cultivation plots. There are no settlements nor dwellings in the project area.

The livelihoods of the farmers in the sub-project area could be impacted if they are unable to farm on the land and/or do not have alternative lands for farming during the project construction phase. The impact may be temporary, lasting during the constructional phase, but could have negative impacts on livelihoods. However, given that the sub-project is being implemented for the long-term economic benefits that landowners will have in the future, it can be concluded that the benefits of the sub-project far outweigh the possible short-term losses.

## Impacts in the Construction Phase

### Land

The irrigation sub-project Živinice includes the construction of irrigation systems (Krivača water reservoir, reservoir area, gravity pipeline, pump station near the river Spreča, pressure pipeline from the pump station to the reservoir and the filter station). Impact on land will include land management, landfill and waste management. Construction works, including the removal of the surface layer of soil (humus), digging, as well as the presence of mechanisation and construction workers can have a negative impact on the quality of the land.

Excavation, vegetation clearance, levelling and other land preparation works and opening of access roads will expose and loosen the soil making it susceptible to erosion and subsequent loss of top soil. There is also the potential for compaction of soil from the use of heavy machinery.

Also, while the irrigation system is under construction, since construction trucks and machinery will be used, there is a possibility of leakage of fuels and lubricants.

The aforementioned effects are of temporary character, and the disrupted physiological and chemical characteristics of the soil will be restored to its original state. An impact may be significant if good construction practices are not applied in accordance with Annex 1 that will be recommended by this Plan and will be used to restore the land to the previous state.

### Forest

The routes of the pressure and gravity pipelines can crossed over forests and forest complexes, which will result in loss of forest areas and fragmentation of forest ecosystems. The fact is that the preliminary design of the planned water pipeline route only crosses the forest complexes to a smaller extent, which leads to the conclusion that the impact will not be significantly negative for the forests.

During the construction of the system in areas where the routes are going through the forest or its edge, damage to the trees in the construction zone can occur, which can lead to the weakening of damaged trees and the occurrence of pests on them.

### Water Resources

Having in mind the fact that the works will be implemented on the riverbanks of rivers Krivača and Spreča, it is estimated that the construction works could adversely affect the quality of surface and groundwater, as follows:

- Increased sedimentation and erosion caused by excavation works, which will affect water quality;

- Pollution of surface and groundwater through spillage or disposal of oil and oil products, motor oil and similar waste materials derived from the equipment and vehicles on the construction site;

- Changes in the quality of surface water due to uncontrolled disposal of excavation waste in the river/water course;

- Changes in the quality of surface water due to uncontrolled disposal of solid waste in the river/water course;

- Changes in the quality of surface and groundwater due to uncontrolled discharges from the on-site toilets.

All afore mentioned impacts are temporary impacts and normal flow regimes, which support the aquatic ecosystem, will be established after completion of the construction works. This Study will propose mitigation measures to reduce adverse impacts during the construction phase and provide reinstatement.

Pollution of water courses which may also occur as a result of improper disposal of solid and liquid waste, as well as excavation waste, will be mitigated by appropriate waste handling measures. Water quality analysis will be made mandatory prior to the start of works on profiles on the Krivača and Spreča rivers (downstream of the water-intake and pump station).

### Air

During construction, the increased concentration of pollutants in the air, primarily dust and exhaust gases from machinery and vehicles at the construction site, is expected. Activities that will lead to the occurrence of dust in the air are: construction of temporary access roads, land works, transport of uncovered construction material and movement of machinery and vehicles on the construction site and on unpaved surfaces. Emissions of exhaust gases nitrogen oxides, sulphur oxides, carbon monoxide, carbon dioxide and black carbon from vehicles for the transport of materials depend on the type and age of the vehicle and the fuel used. The impact on air quality is expected in the area the construction site. However, it is not expected that pollutant emission cause the exceedance of the permissible concentrations in the air and thus not significantly affect the surrounding population. These effects are temporary, that is, they will cease after the completion of the activities. In order to reduce these impacts, appropriate measures to mitigate these impacts are required.

### Noise

During the construction, as a result of the operation of mechanization and motor vehicles for the needs of the construction site, increased noise level will occur. The largest impact is expected during the placement of the pipeline that will take place in the settlements, in the immediate vicinity of houses. Construction activities will generally take place during daily working hours, but there is a possibility that certain activities will be carried out beyond the specified timeframe. This impact is considered as temporary and less significant. Appropriate measures have been proposed to mitigate this impact.

### Flora and fauna

During the construction phase, vegetation will be removed, and the habitat occupied at the site of the construction of the water reservoir and the pumping station. At the location of the reservoir, the habitat is a wet meadow whose loss will be temporary for the most part, since after the completion of the works (after installation of the reservoir) the vegetation will be restored. The parts of the reservoir that will be above the ground cover small area and will occupy only a part of the meadow (lids) so there will be no significant loss of vegetation or habitat. The construction of the pump station will result in the permanent removal of coastal vegetation and occupation of the habitat.

By occupying the area there will be negligible small loss of vegetation and habitat due to the distribution of species in the wider area, so the impact is not considered significant.

During the construction, the impact of disturbing fauna due to the construction machinery will be present: noise, dust particles and emissions of gases and particles. These impacts are limited to the narrow area of construction site and are temporary and therefore considered acceptable. Impacts can be mitigated by appropriate good construction practices: site organization, regular maintenance of equipment, usage of silencers, etc.

When carrying out the work, the risk of spreading invasive alien species of flora and fauna will increase. It is necessary to provide measures to prevent their spread: to clean up machinery and vehicles before use in the project area, and after the construction works to restore the surfaces that were excavated during the works. In case of detecting the invasive species, it is necessary to try to prevent its spread and to remove it.

### Waste generation

Vegetative material and excavated soils which are unsuitable for reuse for works will form the bulk of generated waste, as well as inert construction waste. Servicing and maintenance of machinery and equipment and installation works may generate waste such as scrap metal, empty lubricant containers, plastic, rubber, etc. Also, packaging materials, wrappers, used polythene bags, food wastes, used water bottles, etc. will be generated from use by construction workers.

### Cultural heritage

There are no known cultural heritage sites in the sub-project location. In the event of chance finds, the Contractor and the PIU will deal with it taking into account national legal requirements that are fully consistent with UNESCO and good international practice as well as the chance-find procedures as set in the Project’s ESMF.

### Occupational health and safety

Occupational health and safety issues associated with the proposed project construction include:

- workers exposed to toxic gases, noise, dust and vibrations;

- risk of accidents and injury from the use of machinery and equipment and materials management at the construction site, such as:

  - trip and fall hazards;

  - excavations hazards;

  - equipment falling on workers;

  - lifting of heavy structures;

  - hazards related to materials handling (e.g., lifting, struck by, crushed between, etc.);

  - welding and hot work;

  - work with electrical installation and equipment.

### Community health and safety

The major risks tied to community health and safety relates to project activities taking place outside of the construction site, but nonetheless also the project operation within the limits of the construction sites. One of the prominent risks is the traffic and road safety risks to the affected communities throughout the construction period. These risks mainly stem from increased traffic on transport routes from and to potential waste deposit areas to be used by the contractors during construction works, as well as for transportation of construction materials to the construction site.

Project communities may also be at risk from accidents from the unsecured excavations (i.e. canals).

The distribution pipeline route will intersect with local roads. Also, distribution pipeline route is planned in parallel with local roads in some parts. Construction works at these locations may render portions of the roads and existing foot paths inaccessible, temporarily closed or unmotorable during the constructional phase. This may create inconvenience and increase travel time to and from the affected communities.

### COVID-19 related OHS, Labor and Community Health and Safety risks

Project workers may be exposed to COVID-19 especially for some of the construction activities that require close contact of two or more workers. Considering that works are carried out outside, the risk of transmission is somewhat smaller compared to the indoor activities, but still the risk is very present if adequate prevention measures are failed to be implemented and existing protocols are not followed.

### SEA/SH risks

Taking into account the nature of the construction projects and characteristics of labor force market in BiH, it is expected that the number of female workers at the construction sites will be minimal, if any, so the risk related to SEA/SH at the construction site is low. The risk of SEA/SH to the local communities can also be considered low given the local context, and appropriate measures and awareness raising activities in place.

## Impacts in the Operation Phase

### Land

In addition to many positive impacts of the irrigation system, undesirable consequences are also possible, in particular due to inadequate usage management. Potential negative impacts on land that may arise during usage are problems with waterlogging due to excessive use of irrigation, salinisation and soil and groundwater contamination due to excessive use of agro-chemical agents and disturbance of ecological balance in the area of irrigation in terms of certain pest and weed species.

Land degradation problems can be prevented by drainage and proper defining of irrigation parameters (number, norm and irrigation interval).

Since The Preliminary designed project defines drip irrigation system, the impact of waterlogging will be minimal.

Land salinisation may occur by raising the level of salinized groundwater and by using water containing increased concentration of salt for irrigation purposes, especially in case of high irrigation rates. The same applies to the usage of polluted water (heavy metals, nitrites, nitrates).

The quality of surface water of the Krivača and Spreča rivers were examined on several occasions for different purposes (Studija analize pritisaka (Rudarski institut, 2013)(Pressures analysis study (Mining Institute), Dvokut Pro Reports (2017), ZJZ Osijek (Institute of Public Health Osijek) and Instutut za hemisko inženjerstvo (Institute for Chemical Engineering Ltd., Tuzla (2018)). These analyses (chapter 5.1.5) show that the content of heavy metals in these waters is within the permitted limit values.

These undesired consequences can be reduced or completely prevented by constant monitoring of the irrigated area and regular and constant education of farmers-users.

### Water Resources

Erosion may result in the transport of soil sediments into the sub-project area and downstream into the Krivača and Spreča rivers. This, coupled with the high nutrient content of the wastewater from the farms, could lead to the proliferation of weeds in the river and affect water use downstream of the sub-project area.

Other possible source of pollution of the river is the transport of agrochemicals in runoff water. Chemical products in agriculture, including phyto-pharmaceutical products, mineral and organic waste, may reach surface water through transportation filtering mechanisms and surface runoff and thus affect its quality. As the implementation of the sub-project threatens Spreča rivers with the significant number of point and diffuse pollutants upstream, it is estimated that it will be difficult to determine whether a possible deterioration in its quality (reducing the concentration of dissolved oxygen, increased concentrations of nutrients and pesticides) is caused by the irrigation project or pathogens and other pollutants upstream. Notwithstanding possible difficulties in determining the cause, in terms of prevention of cumulative impacts, it is necessary to apply preventive measures, which relate primarily to the ongoing education of farmers about the proper methods of irrigation and good agricultural practices including integrated pest prevention measures.

Taking into account that water from rivers Krivača and Spreča is also used for irrigation purposes, the Monitoring Plan foresees regular analysis of the quality, not only to determine quality impacts of the project, but also to determine the quality of water that will be used for irrigation in order to avoid negative impacts of such water on crops and the land. The monitoring location should be selected in cooperation with representatives of the competent Water Agency.

There is a potential risk of water overuse in the farming practices, such as in irrigation, cleaning/washing of various materials, tools, machines, or agricultural products. The analysis of water quantities planned to be abstracted for irrigation in the sub-project area has shown that the usage of water for irrigation in the planned quantities will endanger the ecological flow of the Spreča river as presented in Section 5.1.

### Pest and Weed Management

During the usage of the irrigation system, it is possible to introduce additional undesirable pests and weeds by forming favourable conditions (humidity) for their development. This impact can be reduced by taking proper steps of pest and weed control: correct and timely recognition, biology and life cycle knowledge, monitoring of abundancy and use of biological methods wherever possible. In addition, ongoing training on good agricultural practices for farmers-users is necessary, including integral pest prevention measures as required by the Integrated Pest Management Plan, which forms an integral part of the Environmental Management Framework. The main purpose of implementing the Integrated Plan is to prevent and reduce the use of pesticides while at the same time maintaining the pest population at an acceptable level. The Integrated Pest Management Plan should provide farmers with the necessary information on good agricultural practices to reduce the burden of environmental pollution caused by the excessive use of pesticides and reduce the risk to human and animal health by completely excluding pesticides from use. Since Bosnia and Herzegovina on 02.03.2010. has ratified the Stockholm Convention on Persistent Organic Pollutants whose purpose is to limit or prohibit the production, use, emission or import and export of very toxic substances known as Persistent Organic Pollutants (POPs), it is not permitted to use pesticides and industrial chemicals found on the list defined by the convention. Also, pests and weeds management should meet all the requirements set by the World Bank as well.

### Impacts on Air Quality

No effect on air quality is expected during the operation. Occasionally, during agricultural works, emissions from agricultural machinery will occur, but which can be considered as negligible. By using modern machines and fuels according to the Ordinance on the conditions for measurement and control of sulphur content in fuel (“Official Gazette FBiH”, No. 06/08), these emissions can be further reduced.

### Impacts on Noise Level

No increased noise emissions are anticipated during the use of the irrigation system. Possible source of noise is the PS Spreča, pump station that is placed in the immediate vicinity, at a distance of 50 meters from residential building (house). Since the pumps in the Spreča pumping station will be electrically powered, submerged and located inside the enclosed facility, their impact on noise levels is not expected.

### Impacts on flora and fauna

During the operation of the irrigation system some of the water from the watercourses will be redirected to the irrigation pipeline, which will result in a reduction in the amount of water downstream of the water intake structure or the pump station. The amount of water is an important habitat abiotic factor of aquatic fauna, primarily fish, so it is necessary to ensure a minimum satisfactory flow, i.e. an environmental flow, in order to avoid significant negative impacts on fauna. It is necessary to provide system capacity as planned and monitor the use of water in the system.

According to the estimations presented in Chapter 6.1. Influences on the river basin, it is possible that during dry months, Spreča River as well as Krivača River will not be able to satisfy the Environmental flow. In such situations, it is necessary to cease as well the catchment of water from Spreča in order to avoid significant negative impacts.

The construction of a 0.8 m high water intake structure at the Krivača will create a barrier for the migration of fauna. To mitigate this negative impact, it is necessary to build a so-called "fish way" in the form of a cascade or rip-rap on a non-intake part of the sill. It is recommended to build an integrated ramp with stone blocks to enable water communication (Figure 18). The size of the ramp and the size and arrangement of the stones are determined by a hydraulic calculation. The following guidelines are recommended: Jovanović, M., 2011. Riblje staze u sklopu „naturalnog“ uređenja malih vodotoka. Vodoprivreda 43: 217-226.

Figure 18 Example of fishways on the Dölln and Fils rivers in Germany

(Source: Jovanović, M., 2011 Riblje staze u sklopu „naturalnog“ uređenja malih vodotoka. Vodoprivreda 43: 217-226)

In the process of water intake on the Krivača and Spreča rivers, it is very likely that occasionally smaller organisms (invertebrates and smaller vertebrates) will pass through the intake grid system, causing them to enter an unnatural habitat and possibly die. However, since relatively small amounts of water will be taken in, this impact is not considered significant. In addition, this impact may be partially reduced by placing a grid with smaller openings (for example 1 cm).

During the operation of the system the risk of spreading invasive alien species of fauna and flora is increased. In the case of detecting invasive species, it is necessary to try to prevent its spreading and to remove it.

The system area is not located in a protected area nor in a proposed area of the Natura 2000 ecological network. The Spreča River flows into the Modrac Lake, which is proposed for protection, and is also proposed for inclusion in the Natura 2000 ecological network, but due to the capacity of the project (quantities of water intake) there will not be significant effects on its biodiversity.

### Waste generation

Waste to be generated during the operational phase include:

- non-hazardous waste, such as: packaging waste, wood sticks, plastic foils for shadings, metal wires, organic biodegradable waste (crop residue), livestock manure, waste from machinery such as old tires, etc.);

- hazardous waste, such as: packaging of the chemicals and biocides after the substance has been used, oils and lubricants from machinery, etc.

### Community health and safety

The impact on human health may occur due to non-compliance with the Bank's guidelines i.e. the use of pesticides that do not meet the criteria prescribed by the Bank to have a negligible adverse effect on human health. Likewise, in a case of an inadequate personal protection during preparation and application of pesticides, poisoning of user by inhalation, through the skin or by pesticides swallowing can occur. Poisoning can be acute (single-dose intake of large amounts of pesticides, direct contact with skin) or chronic (long-term and constant intake of smaller amounts of pesticides). Therefore, when using pesticides, it is necessary to use protective equipment (rubber gloves, rubber boots, protective suit, headgear, glasses and nose and mouth mask).

## Positive Environmental and Social Impacts

The construction of the irrigation system will ensure the economic, social and environmental benefits to the land users and local communities in this area. Experiences of similar projects show that the project will have many positive impacts on the environment through the promotion of good land use practices, methods of cultivation and pest management.

Sub-project should help to strengthen local capacity in an environmentally sustainable approach to agriculture development.

Potential positive impacts on the environment through the implementation of this project include:

- better control over the use of water resources;

- a more rational use of water resources through improved operation and maintenance;

- reducing the risk of water pollution from chemicals by implementation of integrated pest management plan;

- reducing the risk of pollution of surface and groundwater by using a large number of private pumps and generators, which are currently being used without adequate control and to take measures to prevent impacts from spills of fuels and lubricants;

- the association of water users allows them greater representation in the multi-sectoral agreements about the future of water use;

- effective waste management through greater community participation.

# ENVIRONMENTAL AND SOCIAL MANAGEMENT PLAN

## Environmental and Social Impacts Prevention/Mitigation Plan

Environmental and Social Management Plan is prepared based on the results of the environmental and social assessment and includes measures for reduction of possible adverse impacts to be applied during the project implementation, including the estimation of costs and the responsibility for their implementation.

Mitigation measures are classified as:

- Mitigation measures during the planning phase prior to construction,

- Mitigation measures during the construction phase,

- Mitigation measures during the operation phase,

- Mitigation measures during the project removal phase.

Mitigation measures during the design and planning phase (prior to the construction works) refer to: additional analysis of water quantities that can be drawn from the Spreča River without endangering EF, the ultimate choice of technical solution, revision of technical documentation, provision of all relevant permits, as well as planning related to the selection of water supply sources, concession, land expropriation, and the implementation method.

Mitigation measures during the construction phase mostly refer to the implementation of good construction practices to avoid adverse impacts on the soil stability, water and soil quality, air quality and the level of noise. Mitigation measures related to social impacts refer to OHS, community health and safety and restrictions to land use. Their implementation is under the responsibility of the Contractor for execution of works and shall be included in the works contract together with the Environmental and Social Monitoring Plan. The costs of these measures shall be included in the construction costs, although they mostly include good management measures and usually require no substantial funds. The Client and the appointed Site Supervisor will supervise the implementation of mitigation measures and the Monitoring Plan.

The list of good construction practices and the Waste Management Plan to be included in the works contract are given in Annex 1 and 2.

Mitigation measures during the operation phase refer to the mitigation of adverse impacts as a consequence of inadequate system operation and maintenance, and use of phyto-pharmaceutical products.

Table 18 Plan of Measures for Prevention/Mitigation of Environmental and Social Impacts for the Sub-Project Živinice

| Phases | Problem | Mitigation Measure | Costs |  | Institutional Responsibilities |  |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Planning | Implementation | Planning | Implementation |  |  |
| Planning / Designing | Ensure harmonization of designs with relevant construction, water, environment and concessions legislation | Perform: additional analysis of water quantities that can be abstracted from the Spreče River without endangering the EF and potential new sources of irrigation water, the final choice of technical solution; revision of project documentation; obtaining urban approval, in project-technical documentation comply with all requirements set out in Water Acts, obtaining water use concession. | Part included into system design costs. | Cost estimation will be available through main design. | PIU | PIU | Obligatorily involve competent Water Agency for Sava River Watershed |  |
| Planning / Designing | Reduction of flow in Spreča river | Define acceptable activities for the exploitation of water of the river Spreča. The analysis in the design phase has shown that the water quantities to be extracted for irrigation will endanger ecological flow. | - | - | PIU, competent institutions | PIU in cooperation with the designer and competent authority representatives | It is necessary to agree on the efficient functioning of the irrigation and exploitation system of the river Klokot |  |
| Planning / Designing | Forest fragmentation | During preparation of the Main Design and final design of the pressure and gravitational pipeline route, avoid traversing the forest, but perform the routing off or off the edge of the forest to avoid fragmentation. |  |  | Designer |  |  |  |
| Planning / Designing | Negative public reactions due to the lack of information and activity coordination | Carry out public consultation with the future irrigation system users and persons affected by the project on project segments and adverse impacts mitigation plan. | - | - | PIU | PIU in cooperation with the designer | Obligatorily involve owners of the land to be irrigated which will be subject to expropriation |  |
| Planning / Designing | Higher employment possibilities and generation of revenues for the local community | Qualified local population shall be given preference upon employment. | - | - | PIU | Contractor | Regulate problems through bidding documentation. |  |
| Planning / Designing | Energy inefficiency | The most energy efficient option of irrigation should be given highest priority. | - | - | Designer | PIU in cooperation with the designer. |  |  |
| Planning / Designing | Water inefficiency | Instalment of water meters at farm plots. | -- | - | Designer | PIU in cooperation with the designer. |  |  |
| Planning / Designing | Impact on private land and assets and business activities | Develop Resettlement Action Plan (RAP) in accordance with the WB ESS5. Timely consultation and collaboration with affected parties. | - | The cost estimate will be available through the RAP. | PIU | PIU |  |  |
| Planning / Designing | Disabled agricultural production | Avoid crossing over the agricultural plots, whenever possible. | - | - | Designer | PIU in cooperation with the designer. |  |  |
| Planning (Designing) / Construction | Influence on cultural heritage | Create a "chance find" procedure for dealing with random archaeological finds of cultural heritage, defined as a physical cultural heritage that is unexpectedly found during the implementation of the project. Implement the Procedure during the construction work, and ensure that the appropriate staff and the Contractor are trained on the requirements of the Procedure. The "chance find" procedures should include: - Warning of project staff on the possibility of detecting archaeological finds of cultural heritage, - Fencing the area to prevent further disruption or destruction, - Notifying competent authorities of findings / locations. | - | Cost estimation will be available through main design. | Designer, Contractor | PIU in cooperation with the designer, contractors and competent authority representatives | The procedure is being prepared in the planning phase, i.e. prior to construction and implemented during the construction of the irrigation system |  |
| Construction | Soil erosion and land sliding as a consequence of deforestation, clearing and excavation activities | Provide slope protection (through bank compaction, rip-rapping, vegetative stabilization). Designate an earth material storage area, with topsoil set aside for re-use. Carry out replacement planting or transplanting vegetation. Implement Waste Management Plan presented in Annex 2. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Contamination of soil by grease and fuel from mechanization | Monitor the operation of the mechanization and maintain it regularly. The Contractor is obliged to enclose evidence on proper operation of the vehicle in accordance with the regulations on the emission of harmful gases. Prepare and implement the Construction Site Organisation Plan and Emergency Preparedness and Response Plan. | - | - | Contractor | Contractor |  |  |
| Construction | Water and soil pollution due to poor waste disposal | Prepare a site-specific Waste Management Plan. Short term storage in some locations. Disposal of waste for recycling by the authorized operators. Earth and the other inert material should be used for "landscaping". Reusing and recycling waste wherever possible. It is forbidden to incinerate waste in the open and on-site. Any hazardous waste will be separated on site, adequately stored and handled to a licensed operator for its management and final disposal. Implement Waste Management Plan presented in Annex 2. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Water and soil pollution due to the discharge of waste sanitary waters from the construction site | Installation of ecological toilettes for workers | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Increased turbidity of surface and groundwater as a result of construction works | Same measures as for erosion control and slope stabilization. Set up sediment traps along river and/or gabions along banks to filter out eroded sediments. Conduct the works during dry weather. Prepare and implement the Construction Site Management Plan. Implement Waste Management Plan presented in Annex 2. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Oil and grease contamination of surface and ground waters due to poor equipment maintenance and repair, and refuelling on the construction site | Avoid servicing and refuelling on the site. In case of on-site refuelling and vehicle maintenance, use safety foils. Provide absorbent material in case of fuel spillage. Handle used oiled materials pursuant to the Waste Management Plan. Prepare and implement Construction Site Management Plan and Emergency Preparedness and Response Plan including good construction practices from Annex 1, measures from Preliminary Water Approval and measures from the Waste Management Plan provided in Annex 2. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Introduction and spreading of invasive species | All machines and other equipment need to be cleaned from sediment and vegetation. On all machines and other equipment, check whether there are invasive species (plants, invertebrates) and if so, remove them. All contaminated machines and equipment should be washed with high pressure water (preferably with hot steam under pressure). When it is possible it is advisable to leave machines and equipment dry for at least four weeks before being used in another watercourse. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Disruption of vegetative cover | After the construction, the damaged area is covered with indigenous vegetation. Apply measures of good construction practice in Annex 1. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Permanent loss of area under trees | As much as possible, avoid cutting down trees outside the area needed for water reservoir, access road, as well as pressure and distribution pipeline. Also, when performing construction work, avoid damage and destruction of trees in the edge areas with the machinery. Any removed trees will be re-planted in the vicinity of the area. |  |  | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Dust emission from earthworks and construction work. | Use paved roads for access to construction sites to the greatest extent possible. Control the speed of the vehicle to minimize the emission of dust. When transporting the powdered material, cover the vehicles in order to reduce the pollution of the atmosphere and the impact on biodiversity and the population. In case of very dry weather, water the access roads and earth surfaces. Compact deposited earth material. Prepare and implement the Construction Site Management Plan that includes the measures of good construction practice provided in Annex 1. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Emissions from machinery and vehicles | Regular equipment and vehicles maintenance. Regularly inspect vehicles for compliance with the emission regulations. |  |  | Contractor | Contractor |  |  |
| Construction | Noise generation from heavy equipment and vehicles | Use modern machines and vehicles that emit lower noise levels and less affect the surrounding population and fauna. Ensure sound attenuators for heavy machines. Plan to move equipment at a time when there are not big daily traffic jams. Perform construction works during the day, avoid work after 17 o'clock, especially when the works take place within the settlement, near the houses. Regularly maintain machines and vehicles. |  |  | Contractor | Contractor |  |  |
| Construction | Disabled agricultural production | Construction works on farms during vegetation period will be avoided as much as possible. Ensure that farmers already cultivating portions of the project site will be allowed to continue temporarily farming at areas of the land which will not be affected by construction. Ensure that affected persons are adequately informed, in advance, of the scope, magnitude and schedule of the proposed project, its implications for their continued farming over the construction period. These measures will minimise the problem of confrontation and conflicts and will reduce this impact significantly. Ensure all grievances/concerns by farmers and local communities are resolved prior to construction work. | - | - | PIU in cooperation with the contractor | PIU in cooperation with the contractor | Regulate through construction works contract. |  |
| Construction | Risk of exposure of workers to toxic gases, noise, dust and vibrations | Implement all abovementioned measures related to mitigation of toxic gases, noise, dust and vibrations. Provide sanitary and hygiene facilities for the workers. Prepare and implement Construction Site Organization Plan and OHS Management Plan. Require from all workers to abide by the OHS Management Plan. Provide workers with task‐appropriate personal protective equipment (PPE). Ensure that workers follow procedure on obligatory use of PPE and that they have received training on OHS. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Risk of accidents and injuries at work, such as: - trip and fall hazards; - excavations hazards; - equipment falling on workers; - lifting of heavy structures; - hazards related to materials handling (e.g., lifting, struck by, crushed between, etc.); - welding and hot work; - work with electrical installation and equipment. | Provide warning signs along the irrigation system construction route. Provide sanitary and hygiene facilities for the workers. Prepare and implement Construction Site Organization Plan and OHS Management Plan. Require from all workers to abide by the OHS Management Plan. Provide workers with task‐appropriate personal protective equipment (PPE). Ensure that workers follow procedure on obligatory use of PPE and that they have received training on OHS. Ensure only qualified machine operators with skills and experience operate the machines. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Risk of COVID-19 | Prepare and implement procedures for cases of COVID-19 outbreak. Control entry and exit from site/workplace, rearrange work tasks or reduce number of workers on the worksite to allow social/physical distancing, provide appropriate forms of personal protective equipment (PPE). | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Increased traffic due to heavy equipment/vehicle movement/works in vicinity of local roads Decreased public access through the construction area | Notify the public of the construction works through local media and notice boards at local communities. Prepare and implement Traffic Management Plan. Schedule equipment movement during lean daytime traffic hours. Provide traffic aides/flagmen, traffic signs to help ensure the free and safe flow of traffic; Provide an alternate route for pedestrian and vehicles in coordination with the local authorities or provide safe passageway through the construction site. Prepare and implement Construction Site Organization Plan including good construction practices from Annex 1. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Increased risks for the population from traffic accidents and construction works | Notify the public of the construction works through local media and notice boards at local communities. Prepare and implement Traffic Management Plan. Provide appropriate warning signs, lighting, protective fences, etc. Comply with traffic rules. Clean the construction site from construction waste both during the construction phase and after the completion of the works, when closing the construction site. Through institutional and administrative arrangements with the municipal health centre, provide sanitary supplies and medical assistance at the construction site. Prepare and implement Construction Site Organization Plan. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Risk for the population from accidents from the unsecured excavations | Notify the public of the construction works through local media and notice boards at local communities. Provide appropriate warning signs, lighting, protective fences, etc. Prepare and implement Construction Site Organization Plan. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Risk of SEA/SH | Develop and implement Code of Conduct which reflects the contractor’s core values and overall working culture and includes provisions relating to SEA/SH. Implement awareness raising on SEA/SH issues. | - | - | Contractor | Contractor | Regulate through construction works contract. |  |
| Construction | Indirect impact on environment by purchasing material from unlicensed companies | Use the existing quarries and concrete bases for the supply of material. Use licenced suppliers for other materials. | - | - | Contractor | Contractor | Regulate problems through bidding documentation. |  |
| Operation | Inadequate use of irrigation system | Regularly monitor work, maintain and repair system facilities. | - | - | Users | Users |  |  |
| Operation | Reduction in water quantities downstream due to water use | Provide system capacity as planned. Measure the flow and monitor the use of planned quantities of water in the system. If the flow of water for the needs of irrigation is reduced to the value of the EF, the abstraction of water from the Spreča river is stopped. | Integrated into the system designing costs. |  | PIU | PIU and System Users |  |  |
| Operation | Over abstraction of water | Precisely define crop water requirements. Develop Irrigation System Management Plan that will provide system users with viable irrigation schedule and train water users how to use it. The Plan shall provide regular calibration and maintenance of water management devices. Designate and appoint person(s) or land owner(s) for regular monitoring of soil quality and irrigation system assessment. | - | 5,000 BAM/year for calibration and system maintenance | PIU and Users | PIU and Users |  |  |
| Operation | Deteriorated water quality due to the accumulation of waste in watercourses (at location of water-intake) | Develop Irrigation System Management Plan and train water users to operate it. The Plan shall provide regular removal of waste from the watercourses and adequate disposal in agreement with the local communal company. Raising awareness of local population about the need of proper waste treatment. | - | 500 BAM/year | Users | Users |  |  |
| Operation | Noise emission from vehicles and agricultural mechanisation | Use modern machines and vehicles that emit lower noise levels and less affect the surrounding population and fauna. Regularly maintain machines and vehicles. | - | - | Users | Users |  |  |
| Operation | Increased risk of spreading foreign invasive species of fauna and flora | In the case of invasive invasion, it is necessary to try to prevent it from spreading and remove it. | - | - | Users | Users |  |  |
| Operation | Creating a barrier for migrating fauna by building water-intake in Krivača river | Construction of the "fish ladder" according to Jovanovic's guidelines (2011): "Fish ladder within the "natural" regulation of small watercourses". | 20,000 KM |  | Designer | Contractor |  |  |
| Operation | Environmental and human health impacts due to inappropriate use of phyto-pharmaceutical products (pesticides) and natural and mineral fertilizers | Controlled application of agro-chemicals based on the Integrated Pest Management Plan as an integral part of the Environmental Management Framework. Training of the farmers on the good agricultural practices including proper selection, dosage and timing of agro-chemical applications to ensure maximum plants and soil absorption. Use only the agro-chem allowed/ cleared by the National Institute for Plant Protection. Use safety equipment during the use of phyto-pharmaceutical products. Accomplish cooperation with associations of beekeepers to prevent the increased mortality of bees. | Integrated into the system designing costs. | - | PIU | PIU and System Users | The designer will prepare the Irrigation System Management Plan pursuant to the Terms of Reference for irrigation system designing and conduct the training of system users. |  |
| Decommissio-ning | Adverse environmental impacts due to inadequate disposal of waste resulting from the decommissioning of the irrigation/drainage system and/or during routine maintenance. | Adequately dispose the waste pursuant to the Waste Management Plan (Annex 2) to authorized disposal sites. Recycle the waste susceptible to recycling. | - | 50 BAM/ton of waste | System User | Contractor | - |  |

## Environmental and Social Monitoring Plan

Table 19 Environmental and Social Monitoring Plan

| Phase | Which Parameter to Monitor? | Where to Monitor? | How to Monitor / Type of Monitoring Equipment? | When to Monitor – Monitoring Frequency or Continuous Monitoring? | Why is Monitoring Required? | Costs |  | Responsibility |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Planning | Implementa-tion | Planning | Implementa-tion |
| Planning/ Designing | Negative public reactions due to the lack of information and activity coordination | In local community | Examining the grievance/ complaints records | Upon receipt of complaints from citizens | To prevent impacts in due course | - | - | PIU | PIU |
| Planning/ Designing | The quality of surface water for irrigation (heavy metals, nitrates, nitrites, pH, electrical conductivity, temperature, chlorides, microbiological parameters, pesticides) | Downstream from the water intake on the river Krivača and pump station on river Spreča | Standard laboratory equipment | During design preparation or prior to start of works | To determine the quality of water for irrigation | Integrated into the system designing costs. | - | Designer | Authorized Laboratory |
| Planning/ Designing | Analysis of physical, biological and chemical parameters of land | Determine at least three sampling profiles at a sufficient distance | Standard laboratory equipment | During design preparation or prior to start of works | To determine the quality of land for irrigation | Integrated into the system designing costs. | - | Designer | Authorized Laboratory |
| Planning/ Designing | Land acquisition/ involuntary resettlement | In local community | Examining the grievance/ complaints records | Upon receipt of complaints from citizens | To prevent impacts in due course | - | - | PIU | PIU |
| Construction | Damage to the existing infrastructure and structures, especially underground installations (water and sewage pipelines, etc.) | At a construction site | Visual surveillance | Continuously during the execution of works and site removal | To determine the damages | - | - | Contractor for Supervision of Works | Contractor for Supervision of Works |
| Construction | The appearance of eroded surfaces and landslides near the construction site | In the immediate vicinity of the construction site | Visual surveillance | Continuous during construction and decommissioning | To affirm soil erosion and landslides caused by construction works | - | Integrated into the supervision costs | Contractor for Supervision of Works | Contractor for Supervision of Works |
| Construction | Contamination of soil by grease and fuel from mechanization | At a construction site | Visual surveillance | Continuously during the execution of works and site removal | To determine the impact of works on soil quality |  | Integrated into the supervision costs | Contractor for Supervision of Works | Contractor for Supervision of Works |
| Construction | 1. Analysis of surface water quantities and quality parameters of river Krivača: - flow - turbidity - conductivity - suspended particles 2. Upon commencement of the reconstruction of drainage system, conduct frequent drinking water analyses at the outlets pursuant to the Regulations of the Drinking Water Safety (Official Gazette of BiH 40/10, 43/10) during the implementation of works. | 1. In river Krivača downstream from water-intake 2. On outlets in Local Community Svojat and Zelenika – which may be under the influence | Standard laboratory equipment and water quantity and quality monitoring methods for surface and groundwater | Prior to start of activities In the case of citizen complaints | To define impacts of construction works to the quality of surface water | - | 1.000 KM per sample | Contractor for Supervision of Works | Authorized Laboratory |
| Construction | 1. Presence of oil layer on surface water courses 2. Analysis of surface water flow and quality parameters: - COD, - Total mineral oils. 3. Upon commencement of the construction of water-intake on river Krivača, conduct frequent drinking water analyses at the outlets pursuant to the Regulations of the Drinking Water Safety (Official Gazette of BiH 40/10, 43/10) during the implementation of works. | 1, 2. In river Krivača downstream from water-intake 3. On outlets in Local Community Svojat and Zelenika – which may be under the influence | 1. Visual 2, 3. Standard laboratory equipment and water quality monitoring methods for surface and groundwater | Upon the supervisor's order and upon receipt of complaints from citizens | To define impacts of construction works to the quality of surface water | - | 1.000 KM per sample | Contractor for Supervision of Works | Authorized Laboratory |
| Construction | Waste management during the works execution; Separation of hazardous and non-hazardous waste. | At a construction site | Visually and by comparison with the waste management report | Continuously during the execution of works and site removal | For ensuring proper waste management | - | Integrated into the supervision costs | Contractor for Supervision of Works | Contractor for Supervision of Works |
| Construction | The area which has been subjected to restoration of landscape / vegetation. Number and species of plants replanted. | At a construction site | Visual surveillance and comparison with the Rehabilitation Plan for Degraded Areas | Upon implementation of Rehabilitation Plan for Degraded Areas | For the purpose of land and vegetation reinstatement | - | Integrated into the supervision costs | Contractor for Supervision of Works | Contractor for Supervision of Works |
| Construction | The appearance of foreign invasive species | At the location of the project | Visual identification | One time before the works begin | To determine the presence of foreign invasive species | - | - | Contractor | Contractor |
| Construction | Monitoring condition of crops | At a sub-project location | Visual surveillance | In the case of citizen complaints | In order to determine the impact of construction works on condition of crops | - | - |  |  |
| Construction | Air pollution | At a construction site | By a licensed air quality monitoring laboratory using statutory methods | Prior to start of works for baseline after that In the case of citizen complaints | To determine if concentration of air pollutants exceed the relevant air quality target values or limit values | - | - | Contractor | Authorized Laboratory |
| Construction | Increasing noise level | At a construction site | By a legal person who is authorized for noise measuring using standard equipment | Prior to start of works for baseline after that In the case of citizen complaints | To determine the possible noise level above limit values | - | - | Contractor | Legal person authorized for noise measuring |
| Construction | Presence of cultural / archaeological findings | At a construction site | Supervision of earthworks | During earthworks | For the sake of preservation of cultural heritage | - | Integrated into the supervision costs | Contractor | Contractor for Supervision of Works |
| Construction | Existence of hygienic conditions for workers; Use of PPE; Number of workers with health problems related to work on the construction site; Number of recorded accidents; Number of COVID-19 cases among workers. | At a construction site | Visually and examining the records | Continuously during the execution of works and site removal | To determine implementation of OHS measures | - | Integrated into the supervision costs | Contractor | Contractor for Supervision of Works |
| Construction | Impact on the population because of restrictions in land use rights and in business activities | In local community | Examining the records | Upon receipt of complaints from citizens | To prevent impacts in due course | - | Integrated into the supervision costs | PIU and Contractor | PIU and Contractor |
| Construction | Complaints received due to decreased public access, increased traffic and site disarrangement. | At a construction site | Visually and compared to the Construction Site Organization Plan and Traffic Management Plan. | Continuously during the execution of works and site removal | To define compliance with the Construction Site Organization Plan and Traffic Management Plan and avoid negative impacts on population. | - | Integrated into the supervision costs | Contractor | Contractor for Supervision of Works |
| Construction | Number of recorded accidents of local population due to construction works. | In local community | Examining the records | Continuously during the execution of works and site removal | To prevent impacts in due course | - | Integrated into the supervision costs | Contractor | Contractor for Supervision of Works |
| Construction | Number of recorded incidents related to SEA/SH | In local community | Examining the records | Continuously during the execution of works and site removal | To prevent impacts in due course | - | Integrated into the supervision costs | Contractor | Contractor for Supervision of Works |
| Construction | Quality of completed works Quality of the installed material | At a construction site | Visually and examining the records | Continuously during the execution of works and site removal | Poor supervision and construction works quality assessment may cause damages to the environment, poor structures and use of low quality materials, which may lead to structure damages and expose irrigation system users to risks and possible accidents | - | Integrated into the supervision costs | Contractor | Contractor for Supervision of Works |
| Operation | Irrigation system damage due to improper management | On project location | Visually and examining the records | Continuously | To ensure proper management of irrigation system | Integrated into the maintenance costs | Gross salary for the person in charge of the system maintenance | System Users | System Users |
| Operation | Quantity of water intake (l/s) | On water intake and pump station | Flow meter readings and keeping records | Continuously | To provide adequate water management in the system and compensate deficits, to provide submission of data to the competent water management institution and paid a special water fee | Integrated into the maintenance costs | Gross salary for the person in charge of the system maintenance | System Users | System Users |
| Operation | Precipitation (mm/day) | On project location | Pluviometer reading and recording | When necessary | To define the quantity of precipitation and the quantity of water in the irrigation system | 50 KM per pluviometer | Included in the salary of the person in charge of the system maintenance | System Users | System Users |
| Operation | Wind velocity and direction | On project location | Anemometer reading and recording | Continuously | To determine parameters relevant to agriculture | 150 KM per anemometer | Included in the salary of the person in charge of the system maintenance | System Users | System Users |
| Operation | Air temperature | On project location | Thermometer reading and recording | Continuously | To determine parameters relevant to agriculture | 10 KM per thermometer | Included in the salary of the person in charge of the system maintenance | System Users | System Users |
| Operation | Quantity of water used for irrigation on parcels | On user water meters | Water meter reading and recording | Continuously | To define the quantity of delivered water | Integrated into the construction costs | - | System Users | System Users |
| Operation | Surface water quality for irrigation (heavy metals, nitrates, nitrites, pH, conductivity, temperature) | At locations of water intake | Standard laboratory equipment and water quality monitoring methods for surface water | Monthly | To monitor water quality for irrigation |  | 300 KM/ per sample | System Users | Authorized Laboratory |
| Operation | Flow and water level in the Spreča and Krivača riverbed | Upstream and downstream from the water-intake | Hydrometric measurements and water level measurements on measuring profiles and record keeping | By the dynamics specified by the Water Act and the applicable laws | Flow for the purpose of controlling the flow regime in the Spreča and Krivača riverbed and securing the biological minimum | Built in construction costs |  | System Users | Authorized Laboratory |
| Operation | Soil quality including pH value, heavy metals, phosphorus, nitrogen, Na, Ca, salts and pesticides | On representative plots within the project location | By taking at least one soil sample | Once a year | To define impacts of agricultural activities to soil quality | - | 1000 KM per sample | System Users | Authorized Laboratory |
| Operation | Surface water quality (heavy metals, nitrates, nitrites, pH, conductivity, temperature, chlorides, microbial parameters, pesticides) | At the rivers downstream from water-intake | By surface water sampling | Twice a year in typical hydrological situations | To define impacts of agricultural activities to surface waters | - | 1700 KM/ per profile | System Users | Authorized Laboratory |
| Operation | The appearance of foreign invasive species | At the location of the project | Visual identification | Monthly | To determine the presence of foreign invasive species | - | - | System Users | System Users |
| Operation | Monitoring of crop status | On project location | Visual identification | Continuously |  |  |  | System Users | System Users |
| Operation | Occurrence of weed plants and pests | On project location | Visual identification and counting units | Daily | To determine the needs for use of phyto-pharmaceutical products | - | - | System Users | System Users |
| Operation | Bee mortality | At beekeepers in the region | Unit counting | As required | To define the impact of irregular use of phyto-pharmaceutical products | - | - | System Users | System Users |
| Operation | The occurrence of diseases that are associated with improper handling of phyto-pharmaceuticals | At project location | Through a survey on the occurrence of illnesses at training workshops for farmers on good agricultural practices involving the use of agrochemical resources. | Annually | To determine the impact of improper application of phyto-pharmaceuticals on human health | - | - | System Users | System Users |

# PUBLIC CONSULTATION

The original Environmental Management Plan (EMP) prepared in 2019 was disclosed with public consultations held in August 2019, the details of which are given below. The revised ESMP will be disclosed on the websites of PIU and City of Bihać and will be subject to public consultations which are in line with the World Bank Guidelines on conducting public consultations during the Covid-19 Pandemic. This means that the ESMP will be provided to all interested parties and stakeholders, as well as general public, in a digital format where the comments received will be registered and reflected upon in the ESMP.

## Details of the public consultation for the original EMP

Prior to the public consultation, the draft "Environmental Management Plan for the sub-project Svojat-Zelenika in Živinice Municipality" was published on the website of the PIU Forestry and Agriculture (http://portal.piusum.ba). On the date and place of the public consultation, the public was informed on the websites of the Živinice Municipality.

Public consultation of the Environmental Management Plan for the sub-project Svojat-Zelenika in Živinice Municipality was held on 04/06/2018 in the premises of the Živinice Municipality, starting at 11:00 o'clock.

The consultation was attended by 12 participants: 1 representative of the Investor - Federal Ministry of Agriculture, Water Management and Forestry / PIU Forestry and Agriculture, 4 representatives of Živinice Municipality, 1 representative of farmers interested in the irrigation system usage, 1 representative of the irrigation system designer Higracon ltd. Sarajevo, and 5 representatives of the Consultant for the preparation of Environmental Management Plan (hereinafter: Plan) – Hydro-Engineering Institute (HEIS) Sarajevo and Oikon ltd. Zagreb.

The Minutes of the Meeting are provided in Annex 4.

# ANALYSIS OF CAPACITY BUILDING AND TRAINING NEEDS

## Training needs

Implementation of Environmental and Social Management Plan is responsibility of:

- In the planning and preparation phase: PIU and project designer,

- In the construction phase: the contractor and supervisor of works,

- In the operation phase: irrigation system users, owners of individual parcels that will likely be associated in the Water Users Association.

It is presumed that the appropriate level of knowledge and skills necessary to prepare project documents, to carry out construction works and construction supervision is present within the local stakeholders and in this sense is not necessary to implement specific measures to educate personnel for the implementation of the ESMP in the planning and construction phase.

On the other hand, the existing owners of the land, the future users of the irrigation systems, have a basic knowledge of growing certain crops, use traditional agricultural methods and just few of them had previously used irrigation systems, and implemented measures of integrated pest management. Although it is assumed that in the transition period, customers of the irrigation systems would have the technical support of the municipality over communal utilities in the management and maintenance of the main system to hydrants, and the technical assistance of experts from agriculture to use irrigation systems to achieve maximum yield, it is expected that in due time complete control switch in the hands of the Association of Water Users. It is assumed that the future Water Users Associations will have a responsible person or more for operation and maintenance of the main system to hydrants, and that all users will be responsible for part of a system from the hydrant to their own land.

Therefore, the focus of the training program should focus on the future managers and users of irrigation systems.

When it comes to future managers, they need to be trained for the sustainable management of the irrigation system. The core of knowledge on sustainable management of irrigation systems is among the experts in the field of hydraulic and / or mechanical engineer who specialized in the maintenance of pumping and piping systems employed in higher education institutions or equivalent institutions and consulting companies.

When it comes to future users of irrigation systems, they need to be trained for:

- selection of equipment for irrigation,

- elements of the dosage of water,

- sustainable use of irrigation systems to achieve maximum effect,

- The use of good agricultural practice, among others those relating to the use of methods of integrated pest management and applications of organic or mineral fertilizers.

With respect to the first three points, within the Project will be prepared Manual/Guidelines for the operation and maintenance of the system that will help clients, customers and the municipal department in their future work related to system management and maintenance.

It is recommended to maintain a seminar on the location of sub-project for agricultural enterprises, municipal/cantonal authorities, representatives of the Water Users Association, and other interested local residents where Manual / Guidelines for the operation and maintenance should be presented.

Regarding the remaining point 4, using good agricultural practice, the core of knowledge about land management and use of phyto-pharmaceuticals are located in agricultural universities and their institutes. Based on the laws relevant to agriculture and the application of phyto-pharmaceuticals farmers must undergo appropriate training programs, which should be ensured by the faculties and their institutes. Training program is necessary to include all members of the Water Users Association, and other interested people. Training program should cover issues such as:

- the most significant problems that farmers face in the field;

- ways to overcome the problems;

- the benefits and impacts associated with the use of fertilizers and pesticides,

- use of good agricultural practice, among others those relating to the use of methods of integrated pest management and applications of organic or mineral fertilizers.

## Equipment Procurement

Bearing in mind the proposed monitoring of environmental impacts, it is necessary that future system users purchase the appropriate equipment for monitoring the impact. The users should be trained in equipment usage. The list of the equipment is given in following table.

Table 20 Required equipment

| Type | Number of Units | Unit Costs |
| --- | --- | --- |
| Water meters for measuring water quantities | 1 per individual user | 200 BAM |
| Anemometer for measuring wind speed and direction | minimum 1 | 150 BAM |
| Thermometers for measuring air temperature | minimum 1 | 10 BAM |
| Pluviometer for measuring precipitation | minimum 1 | 50 BAM |
| Thermometer to measure the temperature of land | minimum 1 | 100 BAM |

# ANNEXES

ANNEX 1. GOOD CIVIL CONSTRUCTION PRACTICES

Before the construction begins, the Contractor is required to prepare Construction Site Management Plan, according to the Decree on Construction Site, Compulsory Documentation on Construction Site and Construction Participants („Official Gazette of FBiH“, No. 48/09, 75/09, 93/12, 74/13, 89/14, 99/14 and 53/15)

In the Construction Site Management Plan, the Contractor is obliged to include the following:

- Environmental protection and monitoring measures during the construction of irrigation systems as defined in the Environmental Management Plan

- Requirements regarding good construction practice of performing the works as follows:

General Requirements

- Contractors are obliged to apply good environmental construction practice during all construction activities, and to reduce the damage caused to vegetation, soil, groundwater, surface water, landscape, as well as disturbance of settlements and local communications to the lowest possible extent.

- Application of environmental protection and mitigation measures, as well as monitoring, will be implemented in parallel with the construction activities. They start at the time when workers, equipment and/or material are mobilized to the construction site, and end with the completion of construction works when all workers, equipment and/or material leave the construction site and upon completion of the environmental reinstatement activities.

- The contractor is obliged to appoint a Health, Safety and Environment Coordinator, responsible for the compliance with the laws and objectives of the environmental protection, occupational safety and fire protection.

- The Contractor needs to ensure order, discipline and professional responsibility of all employees on the construction sites. Work and residence must be restricted exclusively to the construction works zone and damage to private property, land and crops must be avoided. The Contractor shall provide regular contact with the local population representatives (local community council) to enable information exchange or find solutions to possible disputes (originating from violation of ownership rights, damage caused during construction works, etc.).

Supply and Transport of Materials

- When purchasing materials for the construction of irrigation systems and reservoir rehabilitation, the Contractor shall select the manufacturer/supplier who performs in compliance with the valid environmental permits, if required pursuant to the Law on Environmental Protection of the Federation of B&H, or other environmental standards recognized in Bosnia and Herzegovina/or EU.

- Aiming at prevention of dust emissions, the Contractor shall transport asphalt, gravel, stone, earth and other material in trucks provided with tarpaulin covers. Transport of stone and gravel shall be carried out in moist condition. Driving speed shall not exceed 30 km/h. The Contractor shall avoid unnecessary driving of vehicles.

Construction Site Organization

- Construction should start (if possible) at the time of the year when dry soil advantages can be utilized, i.e. when compacting and degradation throughout the works are minimum.

- Adequate machines and/or protection plates shall be used to prevent compaction during soil removal, for example with rails or low pressure pneumatics on locations implying compaction possibility. Adequate procedures for separate removal, handling, storage and replacement of humus and subsoil shall be applied.

- The contractor shall establish temporary disposal sites for construction materials; provide space for rinsing of concrete pumps and mixers, as well as space for washing of vehicle tires with adequate cleaning agent. Temporary disposal sites for excavation material (topsoil) shall be reduced to maximum 2 m of height, in order to prevent compaction caused by the soil weight, and the storage time is to be reduced to minimum.

- The Contractor shall ensure that all construction equipment has been licensed and approved in accordance with local regulations, and if possible, certified in compliance with the EU standards.

- The Contractor shall use modern machines and vehicles that meet environmental standards in terms of emission of harmful gases (complete combustion). The Contractor shall also use filters for reduction of emissions of soot particles, and fuel with favourable chemical structure (low sulphur content) and efficient/safe decantation.

- The Contractor shall use modern machines and vehicles producing noise (engines, exhaust system). This mainly entails the supply of new machines or measures for installation of additional sound insulation, as well as constant maintenance. In addition, it is recommended that the machines operate only in the period from 7 a.m. – 5 p.m. in all sections of the route distanced less than 60 m from the nearest residential facility.

- The Contractor shall use biodegradable lubricants and gear oils. Maintenance, filling and cleaning of machines must be carried out off the site and outside the area applying surface water.

- The Contractor shall specify and follow control measures for the dust generated throughout equipment handling and/or rehabilitation works. The Contractor must submit the plan proposing material transport roads, and shall also provide statements on the proposed dust control method in places where transport through the settlements is unavoidable.

- Develop construction site organization design with appropriate solutions for drainage and treatment of sanitary wastewater, as well as storm water, from the construction site zone. Use appropriate sewage systems to discharge wastewater from the site, and if necessary, collect it in waterproof tanks and treat it pursuant to the prescribed method (whether on-site, or at a remote location) prior to the discharge into the recipient or the urban sewage system.

- The Contractor shall ensure that machines and vehicles parking lots as well as labor accommodation containers are not located inside the forest areas, and do not impact watercourses or affect endangered flora and fauna.

- The Contractor shall ensure protection of areas sensitive to erosion by means of stabilization agents (temporary banks, fences, ditches) and replanting upon the completion of construction works.

Execution of Construction Works

- In order not to endanger the land stability, in unstable or conditionally stable terrains, construction works shall be carried out in shorter intervals.

- During earthworks, humus layer shall be deposited in piles not exceeding 2 m in height and protected from pollution to maintain its fertility.

- In order to reduce adverse impacts on the river and river banks to the minimum, construction activities located in or near surface water bodies, shall be carried out during low water season, or most often in the period from July to September. It is recommended to take this into account during the preparation of the activity timetable.

- All manipulations with oil and its derivatives in the process of construction and supply of machinery shall be performed with maximum protection measures to avoid spillages. All packaging for oil and other oil derivatives must be collected and transported to the controlled Contractor’s landfill, and further disposed by the competent municipal enterprise. In case of accidents, fuel or lubricant spillages in the environment, urgent interventions pursuant to the procedures for the discharge of fuel and lubricants are required.

- Washing of machines and vehicles shall not be carried out within the construction works zone.

- Wastewater from the on-site toilets shall not be discharged into the ground or water streams.

- Waste management shall comply with the Waste Management Plan (details given below).

- Deposition of excavated material and any other solid waste in water bodies shall be forbidden.

- Driving machines inside rivers, streams, or onto their banks should not be allowed except in situations when it cannot be avoided due to construction of a special structure.

- River bed bottoms shall be protected and not completely blocked during trenching in order to protect existing water-corridors for uninterrupted communication between the species living at the bottom and the species freely swimming in the water. Further natural restoration of existing banks is to be ensured through covering damaged areas with suitable vegetation.

- The Contractor shall implement adequate traffic control measures, in accordance with the law, during the Contract duration, and the measures must first be approved by the Supervision Engineer. Traffic safety management measures shall include temporary illumination and adequate signalization during trenching and rehabilitation works.

- The Contractor needs to appoint permanent staff to be engaged on traffic safety issues, and be responsible for the implementation of traffic safety measures and traffic measures  prescribed by the national laws, including: (I) inspection of the condition and position of the equipment for traffic control in use; (II) design review – part related to traffic control equipment necessary to provide safe and efficient traffic flow; (III) correction of all traffic deficiencies where applicable; (IV) inspection of work sites, equipment handling and storage, material handling and storage related to traffic safety.

- The Contractor shall not leave trenches unattended and shall fence and signalize all open trenches to prevent accidents.

Organization of Construction Site after Completion of Works

- The Contractor must also remove all special structures and sites used to support construction works including temporary buildings and their foundations, temporary installations (electric power, water, sewage) and equipment (sedimentation tank), temporary roads reinstatement (especially in the forest area and on private properties) and working plateaus reinstatement, removal of fences, signs and notices.

- The Contractor shall remove all construction waste.

- All construction sites and other influential areas affected by construction activities shall be reinstated depending on the future land use.

- Reinstatement activities shall start immediately after pipe burying.

- Construction area shall be seeded with species preserved in topsoil and supplemented by adequate material if needed.

- Agricultural areas shall be returned to a state suitable for landowners to re-plant their own seed crops.

ANNEX 2. WASTE MANAGEMENT PLAN

1. INTRODUCTION

Waste management refers to the implementation of the prescribed waste handling measures including collection, transportation, storage, re-use and disposal of wastes, as well as the control over these activities. Pursuant to the provisions of the Law on Waste Management (“Official Gazette of FB&H”, no. 33/03, Article 3 and 19), the operator of the installations requiring environmental permits produces the Waste Management Plan.

Although this infrastructure project does not require environmental permitting, due to the possibility of waste generation and significant environmental impacts in the construction and operation phases, this Plan has been created. On the other hand, the Contractor is obliged to prepare the Construction Site Management Plan, according to the Decree on Construction Site, Obligatory Documentation on Construction Site and Construction Participants (Official Gazette of the Federation of BiH, No. 48/09, 75/09, 93/12 , 74/13, 89/14, 99/14 and 53/15). This plan should also include waste management at the construction stage. In accordance with the previous experience and practice of drafting environmental documentation for irrigation and reconstruction projects, the consultant has prepared a separate Waste Management Plan for the phases of construction and operation of the system.

Pursuant to the new Law on Amendments to the Law on Waste Management (Article 19), Waste Management Plan must be updated every five years or after a change in operation. Furthermore, pursuant to Article 20, system operator, as a waste producer, must appoint a person responsible for waste management activities. The Plan development shall take into account provisions of the Regulations of Waste Categories with Lists (“Official Gazette of FB&H”, no. 9/05) and the provisions of the Article 2 of the Regulations of the Requirements for the Transfer of Waste Management Liabilities from Producers and Vendors to the Waste Collection System Provider (“Official Gazette of FB&H”, no. 9/05).

For the purpose of complete understanding of the concerned Plan, explanations of basic terms used, and compliant with the Law on Waste Management (“Official Gazette of FB&H”, no. 33/03), are given below:

- "waste" means any substance or object which the holder discards or intends or is required to discard; according to one of the categories included on the waste list constituted in the Regulations on Waste Categories with Lists (“Official Gazette of FB&H”, no. 09/05);

- "municipal waste" – is the waste from households and other waste, which by its nature or composition is similar to waste from households;

- “hazardous waste" – is any waste that is determined by a special regulation and has one or more features causing danger to human health and the environment by its origin, composition or concentration, as well as the waste include on the list as hazardous waste and regulated by an implementing regulation;

- "non-hazardous waste” – is the waste not defined as "hazardous waste";

- “inert waste” – is the waste that does not undergo any significant physical, chemical or biological transformations. It does not dissolve burn or otherwise physically or chemically react, biodegrade or adversely affect other matter it comes into contact with in a way likely to give rise to environmental pollution or harm to human health. Its total solubility, pollutant content and eco-toxicity of its leachate are insignificant and, in particular, do not endanger the quality of any surface water or groundwater;

- "holder" means waste producer, or the person in possession of it;

- "producer“ means anyone whose activities produce waste ("original producer") and/or anyone who carries out preliminary processing, mixing or other operations resulting in a change in the nature or in the concerned waste composition;

- "disposer’’ – is any person who delivers or disposes waste;

- "operator" means physical or legal entities empowered to carry out waste management;

- "waste management" - means a system of activities and actions related to waste, including prevention of waste generation, reduction of waste quantity and its hazardous characteristics, waste treatment, planning and control activities and waste management processes, waste transport, establishment, operation, closure and maintenance of waste treatment devices after closure, monitoring, consulting and training related to business practices and waste management activities.

2. WASTE MANAGEMENT IN THE CONSTRUCTION PHASE

2.1 Classification of Waste Occurred in the Construction Phase and Structure Removal

Classification list of all waste types that may arise during the preparation, planning and site closure in the construction phase and in the structure closing phase is given below. Guidelines for waste treatment, or collection, transportation, processing and removal methods, are given for each category below.

Classification of Waste Occurred during Construction

| No. | Group | Waste Code |
| --- | --- | --- |
| NON-HAZARDOUS WASTE |  |  |
| 1 | MUNICIPAL WASTE (WASTE FROM HOUSEHOLDS AND SIMILAR WASTE FROM INDUSTRIAL AND CRAFT PLANTS AND FROM INSTITUTIONS) INCLUDING SEPARATELY COLLECTED COMPONENTS |  |
| 1.1 | Mixed municipal waste | 20 03 01 |
| 1.2 | Paper and cardboard | 20 01 01 |
| 1.3 | Plastic | 20 01 39 |
| 1.4 | Wood waste | 20 01 38 |
| 2. | WASTE WHICH IS NOT ELSEWHERE SPECIFIED IN THE CATALOG |  |
| 2.1. | Old/warn tires | 16 01 03 |
| 3. | WASTE FROM MECHANICAL SHAPING AND PHYSICAL AND MECHANICAL SURFACE FINISHING OF METAL AND PLASTIC |  |
| 3.1. | Scrapings and chippings containing iron | 12 01 01 |
| 3.2. | Scrapings and chippings of ferrous metal | 12 01 03 |
| 4. | CONSTRUCTION WASTE AND WASTE FROM DEMOLITION OF THE BUILDING (INCLUDING EXCAVATED SOIL FROM CONTAMINATED LOCATIONS) |  |
| 4.1. | Concrete | 17 01 01 |
| 4.2. | Bricks | 17 02 02 |
| 4.3. | Tiles, Tiling/ceramics | 17 01 03 |
| 4.4. | Mixtures of concrete, bricks and ceramic tiles that do not contain hazardous materials | 17 01 07 |
| 4.5. | Wood, glass and plastic | 17 02 01, 02 and 03 |
| 4.6. | Iron and steel | 17 04 05 |
| 4.7. | Earth and stones, and earth excavated by means of an excavator | 17 05 04 and 06 |
| 4.8. | Insulating materials (Styrofoam) | 17 06 04 |
| 4.9. | Mixed construction waste and demolition waste not included in 17 09 01 17 09 02 and 17 09 03 | 17 09 04 |
| 5. | WASTE FROM AGRICULTURE, GARDENING, AQUACULTURE; FORESTRY, HUNTING AND FISHING, FOOD PREPARATION AND PROCESSING |  |
| 5.1 | Waste plant tissue | 02 01 03 |
| HAZARDOUS WASTE* |  |  |
| 1. | WASTE OILS, BITUMINOUS, SUBSTANCES CONTAINING OILS |  |
| 1.1 | Bituminous mixtures containing tar | 17 03 01* |
| 1.2 | Biodegradable hydraulic oil | 13 01 12* |
| 1.3 | Machine oils | 13 02 06* and 07* |
| 1.4 | Packaging containing residues of hazardous substances or being contaminated with hazardous substances | 15 01 10* |
| 1.5 | Lead batteries | 16 06 01* |
| 1.6 | Exploited absorbents (absorbent materials in case of oil and grease spillages, rags, protective clothing) | 15 02 02* |
| 1.7 | Inorganic media for the protection of wood | 03 02 04* |
| 1.8 | Waste from the application and removal of paints and varnishes | 08 01 11*, 13*, 15*, 17*, 19* and 21* |
| 1.9 | Mixture of oil and grease from oil / water separators | 19 08 10* |
| 1.10 | Synthetic oil for heat transfer | 13 03 09* |

2.2. Waste Management Plan for Construction Phase and Structure Removal Phase

Methods of Collection, Storage and Waste Handling

The goal of selective waste collection, storage and handling is to prevent the threat to human health and the environment, especially the discharge of harmful substances into the water and soil.  Collection and storage of waste will be organized within the construction site, and is based on general waste management principles:

- Separate collection

- Prevention

- Recycling

Waste generated on construction site and in areas where administration is situated, will be collected selectively, or in separate containers in accordance with the waste. Waste incineration on site or in the open is prohibited.

Basic principle to be followed is the separation of hazardous from non-hazardous waste, then the separation of construction waste from other waste categories, and particularly separation of waste that can be recycled or given to third parties for re-use.

Hazardous waste and its packaging shall be marked pursuant to the regulations defining labelling of dangerous goods. Hazardous waste should be collected separately and sorted by categories as defined in the table above.

Waste oil shall be collected and stored separately. It is forbidden to discharge waste oil in surface and underground rivers, drains or soil, which also applies for substances containing mineral or synthetic oil.

Separately collected waste shall be stored on specially designated locations in adequate waster bins as follows:

- Container for hazardous waste – mixed hazardous waste (15 01 10*, 16 06 01*, 15 02 02*, 08 01 11*, 13*, 15*, 17*, 19* and 21*, 03 02 04*),

- Container for non-hazardous waste – mixed municipal waste (20 03 01),

- Container for non-hazardous waste – mixed packaging waste which can be recycled (20 01 01 , 38 and 39),

- Container for non-hazardous waste – mixed metal waste which can be recycled (12 01 and 03 and 17 04 05).

Containers shall be manufactured for the purposes above, thus shall not allow leakages. Each container must be appropriately marked.

Collected waste oils (13 02 06* and 07*) shall be stored in barrels or other suitable containers to prevent leakages. Servicing of vehicles shall take place exclusively in the service plateau away from watercourses and sensitive areas, where waste oil barrels are positioned.

For disposal of construction waste, the Contractor shall provide temporary and permanent depositing locations along the route, within the construction zone and at a special location.

Biodegradable waste, or waste plant tissue and material that is collected during the preparation of the construction site, will be selected and offered to the citizens for re-use. The remaining part will be handeled by an authorized operator for this type of waste.

Temporary landfill sites are required for deposition of humus, excavated materials, as well as for smaller amounts of buffer material and stone fractions. The Contractor shall identify permanent and temporary disposal locations, and obtain all required permits.

Waste Disposal

The producer shall deliver all selectively collected waste to the operator i.e. to companies authorized for waste collection, transport and treatment pursuant to the Law on Waste (“Official Gazette of FB&H”, no. 33/03).

In the procedure for the selection of the best offer for waste (hazardous) disposal, the producer will require a proof from the bidder of being registered for execution of waste management activities in accordance with applicable regulations.

The Contractor signs a Contract with the selected company.

Record Keeping

Waste producer maintains records of the type and the quantities of the waste produced. The record includes the following information:

- data on produced waste and causes of its occurrence,

- waste storage,

- Waste removal.

The producer is the record sheet for each waste shipment, in two copies, one copy for the operator and one for his own records.

Delivered waste record sheets of delivered waste are to be kept in the Contractor’s permanent office, and copies on temporary sites for inspection purposes.

Responsibility

The Contractor shall appoint a Supervising Engineer to be responsible for supervision of waste management operations at the construction site.

3. WASTE MANAGEMENT IN THE OPERATION PHASE

3.1. Classification of Waste Occurred in the Operation Phase

Waste in the operation phase occurs during maintenance of pumping stations and possibly reservoirs, and in case of the need for replacement tubes due to malfunction, cracking, or the like. Furthermore, waste in the operation phase occurs also during agricultural activities.

Pumping stations are designed to be automatic, without crew, thus the only waste that may occur is the waste generated from maintenance of power equipment and water pumps.

All the types of waste generated at specific locations in the course of operating the planned irrigation systems are presented below.

Classification of Waste Occurred during Operation of Irrigation Systems

| No. | Group | Waste Code |
| --- | --- | --- |
| NON-HAZARDOUS WASTE |  |  |
| 1 | MUNICIPAL WASTE (WASTE FROM HOUSEHOLDS AND SIMILAR WASTE FROM INDUSTRIAL AND CRAFT PLANTS AND FROM INSTITUTIONS) INCLUDING SEPARATELY COLLECTED COMPONENTS |  |
| 1.1 | Mixed municipal waste | 20 03 01 |
| 2 | CONSTRUCTION WASTE AND WASTE FROM DEMOLITION OF THE BUILDING (INCLUDING EXCAVATED SOIL FROM CONTAMINATED LOCATIONS) |  |
| 2.1 | Plastic | 17 02 03 |
| 2.2 | Soil and stones, and excavator dredging operations | 17 05 04 and 06 |
| 3 | Waste from agriculture, horticulture, aquaculture, FORESTRY, HUNTING AND FISHING, FOOD PREPARATION AND PROCESSING |  |
| 3.1. | Sludge from washing and cleaning | 02 01 01 |
| 3.2. | Vegetable tissues waste | 02 01 03 |
| 3.3. | Hazardous plastic (including packaging) | 02 01 04 |
| 3.4. | Waste from chemicals used in agriculture and waste included in 02 01 08 | 02 01 09 |
| 3.5. | Hazardous metal | 02 01 10 |
| 3.6. | Wastes not specified in any other way | 02 01 99 |
| HAZARDOUS WASTE * |  |  |
| 1 | WATER OILS AND WASTE FROM LIQUID FUELS |  |
| 1.1 | Synthetic oils for motors, devices and lubrication Biodegradable oils for motors, devices and lubrication | 13 02 06* and 07* |
| 2. | WASTE PACKAGING, APSORBENS, ABSORPTION MATERIALS, FILTER MATERIALS AND PROTECTIVE CLOTHES NOT OTHERWISE SPECIFIED |  |
| 2.1. | Packaging containing residues of hazardous substances or contaminated with harmful substances | 15 01 10* |
| 2.2. | Used absorbents (absorbing substances in case of oil and grease leakage, cloth, protective clothing) | 15 02 02* |
| 3. | WASTE FROM AGRICULTURE, HORTICULTURE, AQUACULTURE, FORESTRY, HUNTING AND FISHING, FOOD PREPARATION AND PROCESSING |  |
| 3.1. | Waste from chemicals used in agriculture and containing hazardous materials | 02 01 08* |

3.2 Waste Management in the Operation Phase

Collection and storage of waste in this case as well will be based on the principles of prevention and separate collection. Waste incineration on site or in the open is prohibited.

Waste management is presented as follows:

Waste Collection, Storing and Handling Methods

Waste producer, or individual users associated into the Water Users Association, is responsible to secure that waste management is compliant to the principle of good working practices pursuant to legal regulations. A restriction can impose a temporary waste management method in the respective municipality that does not favour separate waste collection.

During regular maintenance of power equipment and water pumps in pumping stations, there is waste in form of greased and oiled cloth, hazardous waste oils, etc., labelled as 15 02 02*. This waste should be collected, selected and temporarily deposited to the planned facility sites for the maintenance duration. Barrels or other suitable containers, properly labelled to avoid environmental pollution will be procured for the storing of collected waste oils (13 02 06* and 07*), classified as hazardous waste. Waste collected by these means is to be placed at companies dealing with the concerned waste disposal. Water User Association is responsible to sign a contract with the referred companies. In case of and occasional appearance of a leak of oil and fats, remove them with a cloth, and temporarily store oily rags in metal barrels. Fat occasionally removed off the equipment, due to the appearance of mechanical particles or due to replacement needs, is to be removed applying the same method.

In the process of agricultural production, organic waste occurs mainly from waste plant tissues (02 01 03) and shall be collected separately and subjected to the process of composting. Composting should be implemented jointly as organized by the Water Users Association. It is necessary to find a suitable waste composting location in coordination with the municipality.

Containers of the chemicals used for plant protection are classified as hazardous waste (02 01 08*). Such containers should be selected and collected separately in specially marked bags as organized by the Water Users Association. The collected waste must be handed over to the company dealing with hazardous waste and the Water Users Association is responsible to sign a contract with the referred company prior to the system commencement.

Municipal waste marked as 20 03 01, 17 02 03, 02 01 04, 02 01 10, 02 01 99 may occur on the irrigated location, as generated by individual producers especially during planting and harvesting operations. In case the municipality has not established a separate waste collection system, such waste must be collected and temporarily stored in plastic buckets or containers installed by the municipal utility in the region. This category includes non-hazardous waste from chemicals used in agriculture (02 01 09). If there is no waste collection service, each manufacturer must arrange collection and transport to the nearest buckets/containers for waste disposal installed by the municipal utility. Upon establishment of organized separate waste collection systems by municipal structures, recyclable waste (plastics, paper, glass and iron) will be separated and disposed of in special containers intended for the concerned purpose.

During construction works involving pipe replacements and in case of failures, pipe bursts or similar, clay layer (17 05 04 and 06) must be deposited separately and reinstated after pipe lying. Possible surplus material must be deposited at predetermined locations, until transported to the landfill.

Waste Disposal

It is necessary to enter into contracts for removal and disposal of all generated waste with companies that have obtained all required waste management permits.

Waste producer will hand over all (selectively) collected waste to the operator or authorized waste collection, transport and treatment enterprises, pursuant to the Regulation on Selective Waste Collection, Packaging And Labelling (“Official Gazette of FB&H” no. 38/06). The operator undertakes the obligation to transport waste to the final waste treatment process or final disposal.

Final disposal of municipal waste will be carried out regularly to the municipal/regional landfill by means of the municipal public utility trucks and pursuant to the concluded contract.

Hazardous waste will be handed over to the operators authorized to deal with hazardous waste. In the course of transportation, it must be labelled and packaged in accordance with the regulations. Transportation of hazardous waste must comply with general requirements for the carriage of dangerous goods. Transport of hazardous waste shall be accompanied by appropriate documentation as set out in accordance with the Regulation on Selective Waste Collection, Packaging and Labelling (“Official Gazette of FB&H” no. 38/06).

The producer or waste holder of who transports hazardous waste to the operator within the Federation of Bosnia and Herzegovina shall ensure that the wastes are accompanied by completed forms (hereinafter referred to as transport documents), available at the Cantonal Ministry of Environment. A sample of transport documents is provided in Appendix 1 of this Plan.

The waste carrier and recipient shall sign transport documents. In the event that the same carrier repeatedly carries similar types of waste, it is possible to provide one transport documents valid for certain period of time but not longer than 12 months. A copy of transport documents is kept in archives of the carrier and the recipient for the period of two years from the waste transport date.

During the period above, the carrier is obliged to provide transport documents within seven days from receipt of the written request of the Cantonal Minister for environment.

Record Keeping

Responsible person from the Water Users Association keeps the record of the occurrence of all waste types on the site. It is necessary to keep records on waste types and quantities.

Producer shall, for each waste shipment, prepare a record list in two copies, one for the operator and one for own records.

Based on the stored documents, it is easy to determine the exact amount of delivered non-hazardous and hazardous waste.

Responsibility

Waste Management responsibility is as bellow:

- Water Users Association will appoint a person who, inter alia, will be responsible to organize collection and temporary storage of hazardous waste and waste subject to composting.

ANNEX 3. LEGAL FRAMEWORK

- Environmental Impact Assessment Procedure

Responsibility for the Environmental Impact Assessment (EIA) procedure in FBiH is shared between the Federation and Cantonal Ministries responsible for the environment. Procedure for issuing Environmental Permits in FBiH is defined by:

- Law on Environmental Protection of FBiH,

- FBiH Rulebook on Plants and Facilities Subject to EIA, and Plants and Facilities which may be Constructed and Commissioned only if they have an Environmental Permit .

The FBiH Rulebook specifies the following:

- Plants and facilities or significant changes to existing plants and facilities for which the Federal Ministry of Environment and Tourism (FMET) is obliged to carry out the environmental impact assessment (EIA) procedure in the process of issuing an environmental permit;

- Plants and facilities or significant changes to existing plants and facilities for which FMET determines whether the EIA must be conducted, in the process of issuing an environmental permit;

- Plant and facilities for which EIA is not obligatory and which can be constructed and commissioned only if they have an environmental permit issued by the FMET.

For plants and facilities subject to an EIA the assessment procedure begins by submitting an Environmental Impact Assessment Study (EIA Study) to FMET in one written and electronic copy. EIA study is prepared by the legal entities authorized by FMET. The context of the EIA Study is prescribed by the Rulebook on Plants and Facilities Subject to EIA, and Plants and Facilities which may be Constructed and Commissioned only if they have an Environmental Permit. As per article 12 of this Rulebook the EIA study must contain the minimally following:

- Description of the proposed project,

- Description of the environment that might be endangered by the project,

- Description of the significant environmental impacts,

- Description of the mitigation measure of negative impacts,

- Draft of basic alternatives,

- Non-technical resume,

- Indication of the difficulties.

EIA study also contains a special part related to possible impact of the project to the environment of the other entity or Brčko District BiH.

FMET publicly disclosed the electronic version of the EIA Study through its website, informs and invites all the interested parties and the general public to public consultation, and appoints an expert committee to evaluate the EIA Study. Within the 30 days after completion of the public consultation process, the evaluation by the expert committee must be completed. Once the process of evaluation of the EIA study is completed, the FMET issues a Decision on Approval or Rejection of the EIA Study within the 60 days. In case of approval, FMET issues a Decision on Granting of the Environmental Permit. In case of rejection, the procedure is terminated. The new procedure with the new EIA study can be started within the 6 months after Decision on Rejection of the EIA Study.

For plants and facilities for which FMET determines whether they need an EIA the procedure begins by development and submission of a Request for Prior Impact Assessment.

The request for a Prior impact assessment contains:

- description of the project, including information on its purpose and size,

- excerpt from the spatial planning act,

- information on the type and quantity of materials to be used, and the type and level of emissions,

- description of the possible effects of the project on the environment during its construction, during its operation or exploitation and during the decommissioning phase,

- description of basic and auxiliary raw materials and other sources of energy,

- description of the environment in the area affected by the project,

- brief overview of alternative solutions with regard to environmental impacts,

- information on possible difficulties encountered by the applicant in data collecting process, and

- non-technical summary.

In the process of considering and deciding on the request for a Prior impact assessment, the FFMET is obliged to submit a copy of the request and provide free access to the competent administrative body in the canton and the unit of local self-government in whose territory the project is carried out, administrative bodies and organizations responsible for the protection of environmental components, responsible for the protection of cultural, historical and natural heritage, responsible for health protection as well as to other interested parties in order to obtain their opinion.

If it is a project with a significant impact on the environment of another entity or Brčko District, or another state, the request is also forwarded to the body responsible for environmental protection of the other entity and Brčko District.

In case the project site is within a zone under any type of protection regime as regulated by the Law on Waters (water protection zone) or Law on Nature Protection, then the assessment is mandatory in order to check compliance of the proposed activities with protection regimes and potential impacts.

Within above-described process the FMET determines on the basis of the Prior environmental impact assessment that further impact assessment is required, or that an environmental impact assessment is mandatory, and determines the obligation to prepare an environmental impact assessment study, the scope and the content of the Study.

If FMET decides, that there is no need for an EIA Study, FMET issues a Decision on Granting the Environmental Permit. Otherwise, it issues a Conclusion on the Need to Develop an EIA Study.

For plants and facilities which do not need an EIA, and for which FMET issues an Environmental Permit, the environmental permitting procedure begins by submitting to FMET an Application for Obtaining an Environmental Permit, and FMET is obliged to issue the Permit or reject the application for an environmental permit within 60 days.

Application for Obtaining an Environmental Permit, besides the general data on the applicant, location of the plant or facility and decision from the relevant Tad Administration Office, must contain the following:

- description of plant and facility (plan, description of plant and facility, technical description of operation, plant capacity, etc.),

- description of basic and auxiliary raw materials, other substances and energy used or produced by the plant and plant,

- description of the condition of the location of the plant and facility,

- description of emission sources, nature and quantities of emissions from plants and facilities into the environment (air, water, soil), ie. zero status report, as well as identification of significant environmental impacts,

- description of the proposed measures, technologies and other techniques to prevent or, if that is not possible, to reduce the emissions from the installation,

- description of measures to prevent the production of waste as well as to recover useful material from the waste produced by the facility,

- description of other measures to comply with the basic obligations of the operator,

- description of the planned emission reduction measures and a description of the planned monitoring,

- excerpt from the planning act,

- final water act,

- non-technical summary,

- conceptual design,

- waste management plan,

- safety report and/or plan for the prevention of large-scale accidents, if it is a plant or installation that can cause a large-scale accident.

FMET will reject the application for the issuance of the Environmental Permit if the application is not completed in a timely manner or contains inaccurate data that are of importance for the issuance of an Environmental Permit.

For projects, plants and facilities which can be constructed and commissioned only if they have an Environmental Permit, and which fall under Cantonal level responsibility based on their capacity and size, it is necessary to prepare an Application for Obtaining an Environmental Permit. The Application is submitted to the responsible Cantonal Ministry of Environment, which is obliged to disclose the Application on its website, and to forward copies of the Application to interested stakeholders for suggestions and comments in order to ensure public participation. The Environmental Permit is issued based on the Application.

- Agriculture Regulations

The tables below present regulations related to agriculture in BiH and FBiH.

Regulations in agriculture, BiH

| Regulation | Brief Description |
| --- | --- |
| Law on Agriculture, Food and Rural Development of Bosnia and Herzegovina („Official Gazette of BiH”, No. 50/08) | This Law: a) establishes a framework for institutional structures, competencies, responsibilities, etc., at all levels of government in BiH involved in the development of the agriculture, food sector and rural development; b) establishes a framework and mechanisms for strengthening competitiveness, the quality of agricultural and food products and the application of standards necessary for achieving more dynamic development in the agricultural, food and rural development sectors; c) establishes the framework and mechanisms necessary for the preparation of accession and accession to the EU and fulfil all obligations set out in international agreements related to the sector of agriculture, food and rural development in BiH. |
| Law on Protection of New Plants Varieties in Bosnia and Herzegovina („Official Gazette of BiH”, No. 14/10, 32/13) | This Law regulates the procedure for protection of new varieties of plants, conditions, distribution, methods and procedures for the protection and the duration of the breeding rights. |
| Law on Plant Health Protection („Official Gazette of BiH”, No. 23/03) | This Law regulates the health of plants, determines the measures and commitments to prevent occurrences, entrance and spread of harmful organisms on plants, plant products and other regulated objects and their eradication, regulates biological plant protection, sets out the collection and exchange of data and systems of information, regulates the public services concerning plant health, determine the authorities responsible for implementing the Law and prescribing penalties for violations of this Law. |
| Law on Mineral Fertilizers („Official Gazette of BiH”, No. 46/04, 76/11) | This Law deals with issues of distribution of mineral fertilizers and issuing permits for such activities, testing the quality of fertilizer, keeping records and carrying out inspections. To enforce the provisions of this Law, it is necessary to adopt detailed sub-regulations. |
| Law on Phytopharmaceutical Products in Bosnia and Herzegovina („Official Gazette of BiH”, No. 49/04) | This Law regulates the transport and control of active substances that represent phytopharmaceutical products (hereinafter referred to as PPP), PPP registration, licensing under this Law, transport, use and supervision of PPP, the remains of PPP, keeping a register of PPP and the register of legal entities and natural persons dealing with traffic of PPP, providing information on and maintaining records in relation to PPP, the technical requirements for devices for application PPP and their components, competencies of the authorities responsible for the execution of the Law and supervision over its implementation, and regulations adopted pursuant to this Law. |
| Law on Seeds and Seedlings in Bosnia and Herzegovina („Official Gazette of BiH”, No. 03/05) | The purpose of this Law is to provide quality seeds and planting material of agricultural plants to encourage cost-effective agricultural production, with environment and consumer protection. |
| Law on Genetically Modified Organisms („Official Gazette of BiH”, No. 23/09) | This Law prescribes the procedure and conditions for restricted use, transboundary transfer, deliberate release into the environment and placing on the market of genetically modified organisms and products consisting of, containing or derived from genetically modified organisms (GMO). The aim of this Law is to ensure a high level of protection of human life and health, animal health and welfare, environment and consumer interests, with regard to GMOs and GMO products, as well as living modified organisms, while effectively functioning market of BiH. |
| Law on veterinary medicine („Official Gazette of BiH”, No. 34/02) | This Law regulates which state and entity services must plan, implement, monitor, control, update through this law and bylaws, infectious animal diseases, veterinary prevention, minimum volume of animal health care, fees and costs for animal health care, veterinary activities and their performance, databases and information system, inspection control, as well as the rights and duties of legal and natural persons under this law. |
| Law on animal protection and welfare („Official Gazette of BiH”, No. 25/09) | This Law regulates the responsibility of humans for the protection and welfare of animals in terms of keeping, housing and nutrition, protection from torture, protection of animals at the time of killing or slaughter, stress during transport, protection of wild animals, and treatment of abandoned animals, pets and laboratory animals. , the formation of an ethics commission and an expert council, as well as supervision over the implementation of this law and criminal sanctions for violators of the law. |
| Regulations of the list of harmful organisms, lists of plants, plant products and regulated objects („Official Gazette of BiH”, No. 48/13) | These Regulations prescribe the contents of the list of harmful organisms, the contents of the list of plants, plant products and regulated objects. |
| The list of active substances permitted for use in phytopharmaceutical products in Bosnia and Herzegovina („Official Gazette of BiH”, No. 21/20, 33/20, 49/20) | The list of active substances permitted in phytopharmaceutical products aligned with the official list of active substances permitted in the European Union. |
| Decision to ban registration, import and transport of active substances and phytopharmaceutical resources containing active substances, whose transportation and use is banned in the European Union („Official Gazette of BiH”, No. 02/11) | Decision with a list of banned substances and phytopharmaceutical products whose use is banned in the European Union. |

Regulations in agriculture, FBiH

| Regulation | Brief Description |
| --- | --- |
| Law on Agriculture ("Official Gazette of FBiH", No. 88/07, 04/10, 27/12, 07/13) | This Law opens the processes for strengthening competitiveness and raising the quality of agri-food products, as well as the application of standards necessary for achieving more dynamic development in the sector of agriculture, processing and rural development. The law clearly indicates the path of European integration, in a way that support measures for agriculture and rural development will be gradually adjusted at all levels of government, in order to harmonize with the types of measures in the EU. |
| Law on Agricultural Land ("Official Gazette of FBiH", No. 52/09) | This Law defines the term, management, protection and establishment of agricultural land (Article 1), as well as allocation of responsibility for activities related to the cantons and municipalities. It also contains provisions concerning the construction and use of irrigation systems (Articles 85-91). According to Article 26 of this law, discharge of hazardous materials on agricultural land in such quantities that may adversely affect the fertility of agricultural land and the quality of the product is prohibited, as well as the inappropriate use of mineral and organic fertilizers, and pesticides. |
| Law on the Recognition and Protection of Agricultural and Forest Plants ("Official Gazette of FBiH", No. 31/00) | This Law regulates recognition and protection of new varieties and foreign varieties (cultivars) of agricultural and forest plants. |
| Law on Seeds and Seedlings of Agricultural Plants ("Official Gazette of FBiH", No. 55/01, 31/14) | This Law regulates manufacture, transport and import of agricultural seeds and planting materials, and other issues of importance to implementation of a unified system and approach to these issues in the territory of the Federation of Bosnia and Herzegovina. |
| Rulebook on the content, manner and conditions of entry in the registers of agricultural seeds and agricultural seedlings ("Official Gazette of FBiH", No. 05/03) | This Rulebook prescribes the content, form and manner of keeping the Register of producers of agricultural seeds, seedlings and mycelium of edible and medicinal mushrooms, the Register of agricultural seed processors, the Register of laboratories for quality control of agricultural seeds, the Register of importers of agricultural seeds, planting material, seedlings and mycelium of edible and medicinal mushrooms, the Register of Producers of agricultural seedlings and the conditions that must be met by legal entities for entry in the Register and the content of the application for entry. |
| Rulebook on basic requirements, on the quality of agricultural seedlings, method of packaging, sealing, declaration and storage conditions of seedlings of agricultural plants ("Official Gazette of FBiH", No. 51/03, 58/03) | This Rulebook prescribes the basic requirements for the quality of agricultural seedlings, the method of packaging, sealing and declaring, the form and color of the declaration according to the subcategory of seedlings, the manner of keeping records on issued declarations, and conditions for maintaining the quality of seedlings. |
| Ordinance on basic requirements for the quality, packaging and declaration of agricultural plant seeds ("Official Gazette of FBiH", No. 49/03, 12/04) | This Rulebook prescribes obligations, procedures and methods for seed sampling in order to determine the quality of seeds, conditions and manner of packing and declaring seeds, obligations to keep and form records kept by processors and importers of seeds, and conditions for keeping and storing seeds in the store. |
| Instructions on determining the admissible amounts of hazardous substances in soil and methods of testing ("Official Gazette of FBiH", No. 72/09) | These Regulations define harmful and hazardous materials, including sludge from wastewater treatment, maximum admissible content in different types of land. In addition, these Regulations prescribe sampling and monitoring the presence of organic and mineral wastes, and pesticides in soil. |

- Waste Management Regulations

In FBiH, the waste management is regulated by the Law on Waste Management FBiH. According to the Environmental protection law of FBiH the Environmental Permit Application must be accompanied by a Waste Management Plan. Article 19. of the Waste Management Law of FBiH prescribes that the Waste Management Plan contains the following:

- Documentation on the waste generated by the company (origin, type of waste pursuant to waste classification list, composition, volume),

- Measures to be taken to limit waste generation, particularly in case of hazardous waste,

- Separation of waste, particularly separation of hazardous waste from other types of waste and from recyclables,

- Waste disposal at the landfill sites,

- Waste treatment and/or disposal methods.

The Regulation on Waste Categories with Lists defines waste categories by activities. Some waste categories which may be generated as a result of activities potentially included in this Project are provided below.

Waste Generated by the Activities Potentially Included by the Project

| Activity from which the Waste Originates | Regulation Code |
| --- | --- |
| Wastes from agriculture, horticulture, aquaculture, forestry, hunting and fishing | 02 01 |
| Soil (including excavated soil from polluted/contaminated sites), rocks and excavated soil from excavator operation | 17 05 |
| Insulating materials and construction materials containing asbestos | 17 06 |

- Water Management Regulations

In FBiH, the Water Law of FBiH prescribes that water management acts must be obtained, regardless of their impact on water abstraction in all industries and activities, especially for industry and energy, as well as for any other activity which may affect volume and quality of water, the water management acts must be obtained.

According to the Water Law of FBiH, water-permitting process consists of three stages:

- issuing of Preliminary Water Approval;

- issuing of Water Approval;

- issuing of Water Permit.

Preliminary Water Approval sets the conditions, which have to be meet by project documentation, such as project design. Request for issuing of Preliminary Water Approval should be submitted parallel with request for issuing of Environmental Permit, as they both are the subject of issuing of Location Permit and Urban Permit. Request for Preliminary Water Approval has to be accompanied with Study for issuing of Preliminary Water Permit. This Study must be prepared by the company licensed by Federal Ministry of Agriculture, Water and Forestry. Preliminary Water Approval validity is expiring after three years, if Request for Water Approval was not submitted in that period.

Water Approval confirms that project documentation submitted with Request for issuing of Water Approval is in accordance with Preliminary Water Approval, other water acts and planning documentation. Request for issuing of Construction Permit has to be accompanied with Water Approval. Water Approval validity is expiring after two years, if Construction Permit was not issued and construction works were not started in that period.

Water Permit confirms that all the requirements set in the Water Approval are met and is issued before the Use Permit. The Water Permit defines purpose, terms and conditions of water use, facility and plant operating regime, terms and conditions of wastewater discharge, terms and condition of solid waste and liquid waste disposal and other terms and conditions. It also defines the applicant’s obligations related to wastewater measurement, measurement frequency, quality control and records keeping on used water, as well as obligations related to water fees accounting and payment. Water Permit is being issued for limited time period, but not longer than for 15 years.

In FBiH, water documentation is issued pursuant to the Regulation on Content, Form, Terms and Conditions and Manner of Issuance and Keeping of Water Documentation.

Article 111 of the Water law of FBiH foresee that Preliminary Water Approval is obtained within the Environmental Permit obtaining procedure. It is thus ensured that the environmental ministry can integrate in the Environmental Permit any water protection-related recommendations and measures.

In FBiH, the Sava River Water Agency, the Adriatic Sea Water Agency and Cantonal Ministries are responsible for issuing water management acts.

- Construction Regulations

The purpose of spatial planning is the optimal deployment of people, material goods and activities in space through organization, arrangement, use and protection of land resources. Spatial planning adopts an integrated approach that combines natural, anthropogenic and created spaces to solve spatial conflicts. In legal terms, spatial planning in BiH is the exclusive constitutional competence of entities and cantons. Such division of competencies requires the adoption of laws and bylaws at entity and cantonal level. The coverage of the country with spatial plans is incomplete.

In FBiH, construction is governed by the following legislation:

- The Law on Physical Planning and Land Use of FBiH

- Cantonal Laws on Physical Planning and Construction.

The Law on Physical Planning and Land Use of FBiH regulates: planning of land use through the development and adoption of planning documents and their implementation; the type and content of planning documents; land use at the entity level; control of the implementation of planning documents relevant for the entity; control over the enforcement of this legislation and penalties for legal entities and individuals.

Planning at all federal levels must be harmonized with specific regulations from the sectors of environment, water, land, forestry, health etc. as per article 9 of the Law.

Article 25. stipulates that institution responsible for enacting of Physical plan must provide to the entity that is responsible for elaboration of the Plan all relevant documentation including: water management plans, forestry plans, environmental strategy, development plan of agriculture, economy, transport etc. Institution responsible for enacting of Physical plan must enable cooperation and harmonization of the opinions with all stakeholders and space users and particularly with institutions responsible for water, forestry, agriculture, transport, energy, tourism health etc., and provide opinions and approvals from responsible institutions.

Pursuant to this law and cantonal regulations on physical planning and construction, in order to construct facilities, it is necessary to obtain an Urban Permit, Construction Permit and Use Permit. Depending on the type of construction, these permits are issued by the Federal Ministry of Spatial Planning, the Cantonal Ministries relevant for spatial planning, or by the local self-government units (Cities or Municipalities).

The Decree on Construction Site Organization, Mandatory Documentation on Construction Site and Construction Participants specifies the documents that must be kept at construction sites, including a Construction Site Organization Plan (CSOP). The CSOP contains the following:

- Description of preparatory works and site arrangements works during and after construction works,

- Description of technological scheme,

- Elaborate on Safety (composed of Elaborate on Protection at Work and Fire Fighting and Explosion Protection Elaborate),

- Environmental Protection Elaborate during construction works.

The CSOP must be developed by the Contractor for construction works prior to the commencement of construction works. It has to be controlled and signed by the Supervisory Authority which is the legal entity responsible for the overall supervision of construction works, as stipulated by the above-mentioned Decree. The Plan should correspond to the requirements, safety measures and obligations contained in the Environmental Permit or environmental protection requirements laid down in the construction approval process.

Water Approval and Environmental Permit are both the subject of issuing of Urban Permit. Investor is responsible for submission of Request for issuing of Urban Permit. Request has to be accompanied with Preliminary design. Ministry is obliged to respond on the request 30 days upon submission of Request. If the Request is not complete (e.g., document is missing), the authority will request this document, and 30 days period will start after all missing documents are submitted. Location permit is valid one year, and within that period Request for issuing of Construction Permit have to be submitted.

Article 54 defines the issuing of Construction Permit. Party to which the Location Permit is assigned is responsible for submission of Request for issuing of Construction Permit. Request for issuing of Construction Permit has to be accompanied with Detail design. Ministry is obliged to respond on the request 30 days upon summation of Request. If the Request is not complete (e.g., document is missing), the authority will request this document, and 30 days period will start after all missing documents are submitted.

- Land Acquisition

The proposed Project activities might have smaller involuntary resettlement and/or land acquisition that might be necessary to implement territorial development component or some parts of infrastructure works. Prior to the submission of subprojects for funding consideration, the PIU shall carefully screen the proposed subprojects to assess whether or not land acquisition may be required and to what extent.

The land acquisition in FBiH is regulated by the Law on Expropriation of FBiH (“Official Gazette of FBiH”, no. 70/07, 36/10, 25/12, 8/15 and Decision of Constitutional Court 34/16).

This Act regulates the conditions, manner and procedure of expropriation of the property for the construction of facilities of public interest. Property can be expropriated for construction of roads, business and industrial zones, economic, communal, medical, educational and cultural structures, civil defense structures and other structures of public interest as per article 3. The expropriation target includes real property owned by individuals and legal entities.

Property can only be expropriated upon the declaration of public interest for the projects. Expropriation may be carried out for the needs of the Federation of Bosnia and Herzegovina, cantons, cities, municipalities, public companies, their 100% owned subsidiaries and public institutions. Exceptionally, expropriation may establish easement in favor of citizens for the purpose of installing water and sewage pipes, electric and telephone cables, gas pipelines and in other cases determined by law as defined by the Article 6.

Public interest is declared by a special decree or a law (Art. 14 and 15). The public interest in the construction of a facility or the performance of other works in the area for which a regulatory plan or urban plan has been adopted shall be considered determined by that plan, i.e., project.

Expropriation may be complete or incomplete.

Complete expropriation allows the beneficiary of expropriation to obtain legal title over the expropriated property, i.e., it becomes the property of the expropriation beneficiary, while the rights of the previous owner over the property as well as other rights over that property cease to exist (Art. 7).

Incomplete expropriation does not entail change of ownership of land. Incomplete expropriation can establish easement on land and buildings as well as lease on land for a certain period of time (Art. 8)

By expropriating the property, the beneficiary of the expropriation acquires the right to use that real estate for the purpose for which the expropriation was performed. Landowners affected by a partial loss of their property are entitled to request complete expropriation and the corresponding compensation, in case partial expropriation would deteriorate the economic situation of the actual property owner or make the remaining part of the property useless or difficult to use. Owners must be informed of such right by the municipal/city authority. Such request may be submitted until the Decision on Expropriation is issued in the first instance, as well as during the appeal procedure if the affected owner was not informed of such right. (Art. 11).

Prior to submitting the proposal for expropriation, the expropriation user is obliged to invite the property owners through a public announcement for the purpose of acquiring the property by mutual agreement as per Art 23. Expropriation can be started only after the required funds have been secured and deposited with the bank in the assessed total sum for payment, or proof of existence of replacement properties provided (Art. 24) and compensation must be provided prior to formal transfer of ownership (Art. 31).

For reasons of urgency and in order to avoid major damage, the beneficiary of expropriation may take possession of land even before the Decision on Expropriation becomes final and before compensation is paid, but solely on the basis of a decision by the FBiH Government. Generally, compensation is provided by replacement with another appropriate property corresponding to the market value of the real estate expropriated in the same municipality or city but if the owner refuses such replacement property, or replacement property cannot be provided by the beneficiary of the expropriation, compensation is paid in cash at market value of the property.

The Law on Proprietary Rights (“Official Gazette of FBiH”, No. 66/13, 100/13 and Decision of Constitutional Court 32/19) stipulates acquisition, use, disposal, protection and termination of ownership rights and other proprietary rights as well as possession rights, including issues of restricting such rights, the right of servitude, co-ownership and joint ownership rights, the procedure for acquiring property rights over land and/or structures build on someone else’s land. Protection of ownership rights and other proprietary rights is guaranteed by this Law.  According to the Article 2, ownership rights and other proprietary rights can only be limited or taken away only in public interest but only under specific conditions defined by the Law in accordance with principles of international law. For the purpose of protection of natural resources, the environment, human health, cultural and historical heritage, etc., the manner of use and disposal of certain items may be limited or specifically regulated. A significant provision of the Law is that occupants of property acquire ownership rights upon 10 years of conscientious and legal occupancy, or upon 20 years of conscientious occupancy. In addition, the Law provides that the conscientious builder of a structure on land owned by another person is entitled to acquire such land, if the land owner did not oppose to the construction. The land owner is in this case entitled to request to be compensated for the market value of the land.

- Labor Regulations

The key legislation that regulates the terms and conditions of employment in FBiH are:

- Labor Law of FBiH (“Official Gazette of FBiH”, No. 29/16, 89/18 and 23/20 - Decision of Constitutional Court)

- Law on Health Insurance (“Official Gazette of FBiH”, No. 30/97, 7/02, 70/08, 48/11, 100/14 and Decision of Constitutional Court 36/18)

Labor Law of FBiH regulates the rights, obligations and responsibilities of employers and workers in relation to the implementation and improvement of safety and health protection of workers at work, as well as general principles of prevention and the system of rules of safety and health at work whose application helps in preventing injuries at work, occupational and other diseases related to work, as well as the protection of the working environment, and other issues related to safety and health at work. Law defines the conclusion of employment contract, working hours, salary, work contract termination, right and obligations under employment contracts and collective bargaining. The Law, inter alia, treats rights of worker and employer to enter employment contract, rights of minor and female workers, safety and health at work. Provisions of this Law are harmonized with International Labor Organization (ILO) Conventions on forced work, discrimination, child work, equal pay, freedom of association, freedom of organization and collective bargaining.

The laws prescribe in Article 20 the minimum employment age of 18 for concluding an employment contract, with exception of allowing persons between 15 and 18, with the consent of their legal custodians and based on a medical certificate issued by health facility, and provided that the given job does not endanger the minor’s health, moral and education. Employment contracts can be concluded as open ended or fix-term or part-time (Art. 22).

The terms and conditions provided by this Law include prohibition of discrimination in terms of employment requirements and selection of candidates, education, training and professional development, promotion and employment contract termination (Art. 10). Discrimination of workers and job seekers is prohibited with regard to sex, sexual orientation, marital status, family obligations, age, disability, pregnancy, language, religion, political and other opinions, ethnic origin, social origin, financial status, birth, race, skin color, membership or lack of in political parties and trade unions, health status, or any other personal characteristic. Harassment and sexual harassment are also prohibited (Art. 8).

Women in course of pregnancy and childbirth are given special protection. Women are entitled to 52 weeks of maternity leave. Employer cannot refuse to hire a woman because of her pregnancy or maternity leave. Furthermore, it is not allowed to terminate a labor contract to a woman after the expiry of the maternity leave.

Full working hours amount to 40 hours per week and they can be allocated to max. six working days (Art. 36). The Law prescribes breaks during working hours, as well as daily (at least 12 hours) and weekly rest (at least 24 hours). For working longer than 6 hours a day, a worker shall be entitled to rest in the duration of at least 30 minutes (Art. 44).

Employer’s obligation is to register workers for pension and disability insurance, health insurance and insurance in case of unemployment.

The worker is entitled to an increased salary for difficult working conditions, overtime and night work, and for work on a weekend, holidays or any other day for which it is determined by law not to work in accordance with the collective agreement, work regulations and employment contract (Art, 76).  The Law guarantees the worker’s right to a fair salary and full compensation of salary for the period of annual holidays, official holidays and temporary inability to work due to injury at work or occupational disease (Art. 81).

Workers are entitled to remuneration of salary during temporary inability to work caused by sickness or injury or other reasons provided for by the Law on Health Insurance. Salary compensation is entitled to the worker only for the days for which he would be entitled to salary or salary compensation in terms of employment regulations. Salary compensation is determined in the amount of at least 80% of the base for compensation, provided that it cannot be lower than the amount of the minimum salary valid for the month for which the compensation is determined. Salary compensation during sick leave amounts to at least 80% of the salary, whereas salary compensation during sick leave for injuries at work, for diseases related to pregnancy and birth, and for organ transplantation amounts to 100% of the salary.

The salary of workers and the elements for basic salary on the basis of working performance are determined by the collective agreement, the rulebook and the employment contract.

- Safety at Work Regulation

The legislation that regulates the occupational health and safety in FBiH is Law on Protection at work of FBiH (“Official Gazette of FBiH”, No. 79/20)

Law on Protection at work of FBiH has been harmonized with the ILO Convention on Occupational Safety and Health, No. 155 and Occupational Safety and Health Recommendation No. 164 of the ILO, as well as the provisions of the revised European Social Charter relating to the right of workers to safe and healthy working conditions, which Bosnia and Herzegovina has accepted and ratified. The provisions of Council Directive 89/391/EEC of 12 June 1989 on the introduction of measures to encourage improved security and Occupational health, which contains general principles regarding the prevention of occupational risks, safety and health at work and the elimination of risks that may cause accidents, on which all modern European laws governing this area are based, have been used during the preparation of this Law and the said directive has been transposed into legislation of Federation of Bosnia and Herzegovina.

Safety and protection of health at work, in terms of this law, is the provision of such working conditions which prevent the occurrence of occupational injuries, occupational and work-related diseases as much as possible and which create a precondition for full physical, mental and social safety of employees.

As per article 10 the employer who prepares technical documentation for facilities and technical-technological processes is obliged to apply the prescribed measures of safety and health protection at work when designing facilities and technical-technological processes, with an indication of all risks and measures for their elimination.

An employer who performs works on construction, installation, replacement of equipment, overhaul or reconstruction of facilities is obliged to prepare a Study on the arrangement of the work site and ensure the performance of works according to that study Art. 12). Work equipment must correspond to the work process being performed and must be appropriately adapted to that purpose so as not to endanger the safety and health of workers.

The employer is obliged to determine the organization of the implementation of occupational safety, the rules of prevention and protection by its internal act on occupational safety (Art. 23).

The employer is obliged to organize safety and health at work, perform risk assessment for each job, enable the employee to get acquainted with safety and health measures before starting work, adopt an internal act on occupational safety, informs workers about the introduction of new technologies and means for work, and dangers and harms to the health of workers, prepares workers for safe work and provides workers with means and equipment of personal protection, provides periodic medical examinations, provides periodic examinations means of work and equipment for protection at work, implement fire protection measures, implement measures to ensure first aid, and to inform the competent labor inspection of any death, accident that struck one or more workers, serious injury, occupational disease, any occurrence or diseases affecting more than one worker and any occurrence which could endanger the life or health of workers at work (Art. 22).

Workers are obliged to use personal protection equipment and comply with other instructions related to safety at work.

Vulnerable groups, such as pregnant women, mothers or nursing mothers, minors, persons with disabilities, as well as workers with changed working capacity in terms of pension and disability insurance regulations, are not allowed to work in jobs where there is a risk to their physical and mental health and life and in a difficult working condition (Art. 70).

ANNEX 4. MINUTES OF THE PUBLIC CONSULTATION

Minutes of the public consultation on the document 
„Environmental Management Plan (EMP) for the Sub-Project „Svojat –Zelenika“ in Živinice Municipality (Draft)“

# Location: Municipal Hall of Živinice Municipality

Date and time: 04/06/2018; 11:00

# Topic: Introducing the key stakeholders with the document content and discussion; Agenda is given in Annex 1

# Participants: The consultation were attended by 12 participants: 1 representative of the Investor - Federal Ministry of Agriculture, Water Management and Forestry / PIU Forestry and Agriculture, 4 representatives of Živinice Municipality, 1 representative of farmers interested in the irrigation system usage, 1 representative of the irrigation system designer Higracon ltd. Sarajevo, and 5 representatives of the Consultant for the preparation of Environmental Management Plan (hereinafter: Plan) – Hydro-Engineering Institute (HEIS) Sarajevo and Oikon ltd. Zagreb. The list of participants is given in Annex 2 and the photos in Annex 3.

# In the introductory part, the representative of the Živinice Municipality, Mr Mirsad Butković welcomed the participants and referred to all the activities carried out on the irrigation project prior to public consultation. Then the representative of the Consultant, Ms Dragana Selmanagić (HEIS) presented the draft Plan, followed by a discussion and answering the questions addressed to the Consultant.

Discussion, questions and answers to questions:

Husein Butković, a representative of the farmers interested in using the irrigation system thanked for the detailed presentation and for all the activities related to the irrigation project in Živinice Municipality. He asked which the criteria were used for choosing only three local communities (Svojat, Zelenika and Gornja Lukavica) for the implementation of the irrigation project in Zivinice Municipality.

Mirsad Butković, representative of the Živinice Municipality for the irrigation project, has explained that these three local communities were chosen from the aspect of the required conditions, i.e. the natural and geographical position permitting irrigation by gravity, without pumping. Criteria were the availability of water resources and a free fall for the irrigation purposes, without pumping, and favourable legal-property relations (i.e. majority of public land) in the area where the infrastructure is planned. Another reason was that these 3 local communities are known for the production of cucumber which requires significant amounts of water. The Živinice Municipality plans to organize activities in the future and to implement irrigation throughout the Sprečansko field, where conditions for agricultural production exist.

Husein Butković (farmer) asked how the water consumption would be measured and if the water would be paid? What are the ways and criteria to get this water for irrigation through this project?

Fahro Ahmić (Higracon Sarajevo), the representative of the irrigation system designer, noted that all water would be measured. The technical solution (Main design) will foresee the installation of the main meter for the Spreča River (at the pump station), and at the exit from the water reservoir on Krivača River. Water meters are planned to be installed for each user on the connection manhole, which will be on the public good. The design also considers the option of connection more than one user to a larger water meter, or that every user uses smaller water meters. Measuring will be done for each user and he will pay an acceptable price. The price will vary with respect to the electricity consumption for water that will be taken from Spreča River and which will have to be pumped. Certain savings can be made due to the planned resevoir, which will accumulate water and use in the period when smaller water quantities are available in the Krivača River.

Dragana Selmanagić (HEIS) noted that, in accordance with the law, all the water quantities that will be taken from Spreča and Krivača rivers must be measured and that the end users of the water, i.e. farmers, must also measure the quantities of water that is used and which will be paid in a certain amount. She emphasized the significance of obtaining the Water Act in the design phase of the irrigation system in Živinice Municipality, where the competent Sava River Basin Agency sets conditions for the use of water quantities for irrigation purposes and obligations to provide ecological flow in the watercourses concerned. There is a legal obligation to ensure monitoring of the water quantities in the watercourses from which the water will be taken for irrigation purposes and this is stipulated in the Water Act. She also noted that a concession would be needed for the use of natural resources, for which a certain concession fee would be paid. This fee, along with the fee for water use, will certainly affect the final price of water paid by farmers, and this aspect should be considered within the framework of the Main design.

Amela Ibrahimović (Federal Ministry of Agriculture, Water Management and Forestry) noted that, regarding the use of water, it is necessary to establish a Water Users Association. From the very beginning of the planning of this project, discussions were held in meetings and public consultations on the need and obligation to establish the Association. Some farmers were willing to join the Association, so they signed certain agreements. The Associations will be responsible for maintaining and managing the system, as well as determining the level of the water fee together with the Municipality. She also noted that a Water Distribution Plan will be prepared which will define the water demand in specific periods. The preparation of the mentioned Plan will be the obligation of the Association.

Husein Butković (farmer) stated his opinion that there would not be a quality management irrigation system if no company is determined to manage everything. He was sceptical about the management of the system by the Water Users Association.

Mirsad Butković (Živinice Municipality) noted that two options were considered: to assign the system management and maintenance to the utility company in Živinice or the Water Users Association. However, there is a problem with the business operation of the utility company, so this option is abandoned. Also, in consultation with the remaining 4 municipalities in the FBiH, participating in this project, it was concluded that the Association is a much better option. Associations must have their own statute and bodies that will take care of everything. He noted that the water distribution scheme would be made by sectors (4) and depending on the crops.

Fahro Ahmić (Higracon Sarajevo) noted that the project has planned 108 ha for irrigation every day. In the original variant, this surface was much smaller, but eventually the area has been increased and it is still under consideration.

Representative of the Local Economic Development Department in Živinice Municipality, Mr Fahrudin Fehrić, expressed his support to the project and expressed concern about the planned quantities of water that will be taken from the Spreče and Krivača rivers and what would be the consequences of this activity on the downstream flow of these watercourses. He expressed concern about the possibility of abtracting the planned water quantities from both watercourses, due to constant reduction of the available water quantities in them. In the summer period, very small amounts of water are present in both watercourses and, therefore, he expresses concern about the planned amounts of water (30 l/s), and if the ecological flow in both water streams will be maintained downstream of the wate-intake. He thinks that it is also necessary to consider the option of taking reserve quantities of water through deeper wells or some other alternative to the proposed technical solutions of water-intake in the Preliminary design. He noted that he did not know until now that there was an impact of the proposed technical solution on ensuring the EF in the Spreča River, and that special attention should be paid to the selection of technical solutions and the choice of available irrigation water. There is a great responsibility of all actors in this project and it is really necessary to pay special attention to this issue in the following period.

Dragana Selmanagić (HEIS) thanked Mr Fehrić for his opinion and confirmed that the Consultants (hydrologists) have recognized, within the document EMP, that impact of the technical solution in the Preliminary design on available quantities and the EF as the most significant impact. She noted that certain obligations in this regard are set out in the Water Act issued by the competent agency and that the Consultants did not have access to this Act during preparation of EMP. She also noted that water quality testing through this project, which will be used for irrigation purposes, were also not available to Consultants. All the requirements of the Water Act should be respected in the next phase of design, i.e. the Main design, which will have to prove the selected technical solutions, calculations and descriptions. The Main design should also be revised by a licensed company, which will confirm the correctness of all solutions and calculations.

Namik Hadžimuratović (HEIS) emphasized that the Krivača River is presented in the Preliminary design as the main source of irrigation water, and in reality it is supplementary, according to the available quantities. It is certain that, during the entire vegetation period, the water would have to be taken from the Spreča River and pumped into the reservoir. Regarding the EF, it will certainly be endangered during the vegetation period when water will be abstracted from of the Spreča River. One of the solutions may be to accumulate the water from the Krivača River in times when there is more available water. Therefore, these concerns are proven by the calculations in EMP where it can be seen that there will be problems with the water demand for irrigation in the vegetation period and with ensuring the EF with the current technical solution.

Fahro Ahmić (Higracon Sarajevo) noted that additional quantities from the wells were considered, research was carried out and a detailed hydrogeological elaboration was developed. Water from the well was not a good solution, so it was concluded that this solution would be abandoned. Concerning the proposal to accumulate the Krivača river, he expressed a negative opinion and believes that this cannot be done under the existing conditions. Concerning the Water Act, he noted that the Municipality had obtained this document and that it should be delivered to Consultants by the PIU of Forestry and Agriculture. He also noted that the study on detailed hydrogeological investigations was submitted to the PIU as well as the results on surface water quality testing, and that they should submit all these documents to the Consultants.

Mirsad Butković (Živinice Municipality) also pointed to the problem of daily population emigration from the municipality in search of better living conditions, which could result in a decrease in the development of agricultural activities in the areas concerned.

Dragana Selmanagić (HEIS) asked the representative of Živinice Municipality and Federal Ministry of Agriculture, Water Management and Forestry whether the following documents are available: a valid Water Act, detailed hydrogeological research on groundwater, and surface water quality testing for the irrigation projects. She asked if all of these documents could be delivered to the Consultants for review, so that they could update the EMP with new information in that context.

Amela Ibrahimović (Federal Ministry of Agriculture, Water Management and Forestry) responds that a Water Act is obtained. She noted that all additional documents, including a Water Act, would be submitted to the Consultant for the update and finalization of this document after the public consultation. She also stressed that the selection of the revident for the Main design is in process so that all the issues discussed today regarding the available water quantities, the EF and the proposed technical solution, will be determined.

Questions addressed to representatives of the Municipality and Designers by the Consultant:

1. Which irrigation systems were used in the 3 local communities in question in the previous period?

Systems that were used were drop-by-drop and individual system (from the public water supply system, accumulating water in barrels, water abstraction through pipes in watercourses, etc.).

2. Were there any incidental situations related to water quality and pollution in the previous period on the springs of Spreča and Krivača?

There were no incident situations related to the pollution or the endangerment of the water quality in the watercourses in the previous period.

At the end of the public consultation, the representative of the Investor Ms Amela Ibrahimović (Federal Ministry of Agriculture, Water Management and Forestry) and representative of the Consultant Ms Dragana Selmanagić (HEIS) noted that the draft EMP is publicly available in the electronic version of the website of PIU Forestry and Agriculture (http://portal.piusum.ba).

All participants were invited to review the EMP in detail and to submit comments, opinions and suggestions on the document, in writing, by the end of the week (although the invitation stated 04/06/2018 as the final deadline) at the following address:

Federal Ministry of Agriculture, Water Management and Forestry

PIU Forestry and Agriculture

Irrigation Development Project in Bosnia and Herzegovina (IDP)

Trampina street 4/1

71 000 Sarajevo, B&H

The representatives of the Consultant have concluded that new findings, argumentative comments and suggestions from the public consultation would be integrated into the final EMP document.

# Minutes prepared by: Dragana Selmanagić, 11/06/2018

# Annexes:

# Annex 1. Agenda

# Annex 2. List of participants

Annex 3. Photos

ANNEX 1.

Public consultation on the document 
„Environmental Management Plan (EMP) for the Sub-Project „Svojat –Zelenika“ in Živinice Municipality (Draft)“

Živinice, 04/06/2018

AGENDA

| Time | Activity |
| --- | --- |
| 11:00 – 11:15 | Welcome Mayor/representative of Živinice, Municipality, Director/representative of PIU Forestry and Agriculture |
| 11:15 - 12:15 | Presentation of Environmental Management Plan (EMP) for the Sub-Project „Svojat-Zelenika“ in Živinice Municipality, Consultants |
| 12:15 – 12:30 | Coffee break |
| 12:30 – 13:30 | Discussion and comments Participants |
| 13.30 - 14.00 | Conclusions |

ANNEX 2.

ANNEX 3.

Preliminary design of irrigation system in sub-project areas in Živinice Municipality, November 2017, Higracon, Sarajevo & Hidroing, Osijek

Accessible at - https://www.worldbank.org/en/projects-operations/environmental-and-social-framework

Federal Institute of Statistics, Tuzla Canton in Numbers, 2017.g.

Consultancy services for the development of the Main Design for rehabilitation/construction of irrigation in municipalities Odžak and Živinice; Preliminary design for the subproject in Zivinice Municipality, November 2017, Higracon, ltd. Sarajevo and Hidroing, ltd. Osijek

Ibid

Spatial Plan of Živinice Municipality for the period 2012-2032, Spatial bases - an overview of the current state, April 2012

Federal Hydrometeorological Institute "Annual Report on Air Quality in the Federation of BiH for 2020", April 2021.

Spatial Plan of Special Features of the Modrac Reservoir Area for the period 2016-2036, Draft (II Phase). August 2017

Regulation on Classification of Inter-Republic Waterways, Interstate Waterways and the Coastal Sea of Yugoslavia („Official Gazette of SFRY“, No. 6/78)

Water Management Plan for the Sava River Basin District in the Federation of Bosnia and Herzegovina (2016 – 2021) , Annex No. 10 - assessment of status and risk assessment for surface water bodies, November 2016

Integrated Development Stratgy of Živinice Municipality 2017-2026, November 2016

Federal Institute for Development Programming, Socio-economic Indicators by FBiH Municipalities in 2016

Consultancy services for the development of the Main Design for rehabilitation/construction of irrigation in municipalities Odžak and Živinice; Preliminary design for the subproject in Zivinice Municipality, November 2017, Higracon, ltd. Sarajevo and Hidroing, ltd. Osijek

Consultancy services for the development of the Main Design for rehabilitation/construction of irrigation in municipalities Odžak and Živinice; Preliminary design for the subproject in Zivinice Municipality, November 2017, Higracon, ltd. Sarajevo and Hidroing, ltd. Osijek

Ibid

Consultancy Services for the Development of the Main Project for Rehabilitation / Construction of Irrigation in Odžak and Živinice Municipalities; Preliminary design of irrigation for the sub-project in the Živinice Municipality, November 2017; and Hydrology of the Spreča and Krivača for irrigation purposes, Higracon ltd. Sarajevo and Hidroing ltd. Osijek

Federal Ministry of Agriculture, Water Management and Forestry, „The irrigation development project in Bosnia and Herzegovina (IDP)“, „Environmental and Social Management Framework“, January 2012

Law on Changes and Amendments to the Law on Waste Management („Official Gazette of FB&H“, No. 72/09)

Official Gazette of FBiH, No. 15/21

Official Gazette of FBiH, No. 19/04, 1/21

Official Gazette of FBiH, No. 19/04, 1/21

Official Gazette of FBiH, No. 33/03, 72/09, 92/17

Official Gazette of FBiH, No. 9/05

Official Gazette of FBiH, No 70/06

Official Gazette of FBiH, No. 06/08, 57/09, 72/09

Official Gazette of FBiH, No. 2/06, 72/07, 32/08, 4/10, 13/10, 45/10

Official Gazette of FBiH, No. 48/09, 75/09, 93/12, 74/13, 89/14, 99/14, 53/15, 101/15

Official Gazette of FBiH, No. 29/16, 89/18, 23/20 - Decision of Constitutional Court

Official Gazette of FBiH, No. 30/97, 7/02, 70/08, 48/11, 100/14, 36/18

Official Gazette of FBiH, No. 79/20

Convention on Occupational Safety and Health No. 155, 1981, ILO, Available at: http://www.ilo.org/dyn/normlex/en/f?p=normlexpub:12100:0::no::p12100_instrument_id:312300

Occupational Safety and Health Recommendation (No. 164), 1981, ILO, Available at: http://www.ilo.org/dyn/normlex/en/f?p=normlexpub:12100:0::no:12100:p12100_instrument_id:312502:no

European Social Charter 1961, Available at: https://www.coe.int/en/web/european-social-charter

Council Directive 89/391/EEC Of 12 June 1989 on the Introduction of Measures to Encourage Improvements in the Safety and Health of Workers at Work